## Slide 1: Project Harmony - China TRD
Stages
Applicable Standard Assessment for Product families (FM0001776)
Gap assessment – YY, TRD & EES Evidences
Modified TRD recommendations
Shaping Efforts
Design change recommendation

## Slide 2: Type of China Standards
National Medical Products Administration (NMPA) is formerly the China Food and Drug Administration (CFDA)
National Standards - National Standards are often referred to as “GB standards”. They are consistent across all of China and are developed for technical requirements.
Professional Standards - Professional Standards are often referred to as “Industry Standards”. They are developed and applied when no National GB Standard exists, but where a unified technical requirement is needed for a specific industry sector in China. Professional standards “YY” are coded by industry sector. The codes of mandatory standards are shown in the following table, and the codes of voluntary standards have "/T" added after the mandatory codes. For example, the code for Medical voluntary standards is “YY/T”.
https://www.standardsportal.org/usa_en/prc_standards_system/standards_used_in_china.aspx
Local Standards - Local standards are often referred to as “Provincial Standards”. They are developed when neither National Standards nor Professional Standards are available, but unified requirements for safety and hygiene of industrial products are needed within a local area. Local Standards are delineated with either “DB + *” (mandatory) or “DB + */T” (voluntary). The codes for local standards are shown below. The * represents the province code as defined by the ISO 3166-2:CN and GB 2260/T, so a local voluntary standard in Sichuan Province would be DB + 51/T.
Enterprise Standards - Enterprise Standards (Q + *)may be developed and/or used by an individual company in China in cases where National Standards, Professional Standards and Local Standards aren't available.
2

## Slide 3: Applicability of Standards
Higher level standards supersedes lower level standards. For any given product or service, only one type of Chinese standard will apply.
There are mandatory and non-mandatory standards. Mandatory standards are enforced by laws and administrative regulations.
All Ethicon products are covered under either GB or YY standards.
China National Medical Products Administration (NMPA) is now issuing a new YY/T standard for many medical devices.
YY/T is non-mandatory but may still be enforced by reviewers.
3

## Slide 4
China TRD Remediation Approach
China YY Standards
Specifications of Major Medical Device Manufacturers
ISO Standards and Guidelines
China Regulatory
J&J China
Technical Requirement Document (TRD) based on China YY Standards
J&J/EES US
Design Specs, DR, and Material Specifications satisfying ISO and FDA requirements
Gaps
Initial gap analysis depicts that about 70% of China Requirements are aligned with EES Design & Material specification
Revised TRD
Updated with EES Requirements & Evidences and new test results satisfying ISO & YY Standards
Recommendation to improve China Standards
(Shaping)
Remediation Activities
Step-3 (likely)
Perform DV tests at EES
(Test Setups as per YY STDs)
Step-2
Write Rationale with current Evidences to satisfy TRD’s Clauses
Step-4 (may be)
Perform DV tests in China
(Test Setups as per YY STDs)
Step-1
Review EES documents and collect evidences
Some Gap exists between YY STDs and TRDs
TRD
with EES Evidences and
new test results satisfying
YY Standards
Deliverable
Better TRD
Better STD
4

## Slide 5: List of Energy Devices
Device Name | TRD No. | Group | Priority | Assessment SME | Device SME - DE | Device SME - QE
Ace Blade 700 | NMPA 20202010413 | Megadyne | 1 | Ravi / Sayan |  | 
Pencil and Tips | NMPA 20182252153 | Megadyne | 2 | Ravi / Sayan |  | 
Lap Electrodes | NMPA 20182252151 | Megadyne | 3 | Ravi / Sayan |  | 
Patient Return Electrodes | NMPA 20162015216 | Megadyne | 4 | Ravi / Sayan |  | 
Mega Power | NMPA 20183252228 | Megadyne | 5 | Ravi / Sayan |  | 
HD1000i | NMPA 20193010160 | Harmonic | 1 | Suyash / Sayan |  | 
Brick | NMPA 20192010295 | Harmonic | 2 | Suyash / Sayan |  | 

## Slide 6: Megadyne TRD Gap Assessment Estimated Timeline
*Initial estimated timeline based on number of requirements per TRD and ease of availability of documents

## Slide 7: Harmonic TRD Gap Assessment Estimated Timeline
*Initial estimated timeline based on number of requirements per TRD and ease of availability of documents

## Slide 8: TRD Documents and Examples of Gap Assessment
Example of Ethicon Endoscopic Linear Stapler and Cutter
Megadyne Device TRD (for reference)
.Note: Megadyne Devices do not have any device specific standards as of now, however, it does have applicable specific test standards or raw material standards that are mentioned in the device TRD.
Harmonic Device TRD (for reference)
.Note: Harmonic Devices do not have any device specific standards as of now, however, it does have applicable specific test standards or raw material standards that are mentioned in the device TRD.
Device Illustrations and Estimated Activity Timeline

## Slide 9: Required Support
Guidance from Device Design and Quality Engineers to better understand the functionalities and high-level requirements of the device.
DMR / DHF / DS / DR requirements to map requirements provided in TRD to source specifications
Verification and Validation reports (Protocols and Completion Reports) to provide evidence that the specified requirements are quantified, substantiated and corroborated
Feedback and support from Device Design and Quality Engineer to finalize Gap Assessment MEMO and Investigative Studies and Tests (if any required)
Other Requirements: The following inputs may help to study the device, and to understand and identify downstream activities under Project Harmony (if required)
CAD models
Device Samples

## Slide 10
Thank You
10