**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Megadyne ACE700 Zip Pens CE Mark Addition Update |

|  |  |  |
| --- | --- | --- |
| **Originated by: Dave Daniels / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | \*\*Ricardo Rivera-Sanchez SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Updated deliverables list. Attached all final deliverables to this document. Also updated Supplier Relationship Manager. |

Scope

|  |  |
| --- | --- |
| Project Scope | Revised shipping label drawings 3151073-01, 3151075-01, 3151074-01, and 3151076-01 to incorporate a CE Mark. A MOD code change will also be implemented to MOD01. |

|  |  |
| --- | --- |
| Product Name and Codes | Megadyne ACE Blade 700, 2.5”, ZIP Pen, “C” Connector (ME7251C)  Megadyne ACE Blade 700, 2.5”, ZIP Pen, “EC” Connector (ME7251E)  Megadyne ACE Blade 700, 2.5”, MODIFIED, ZIP Pen, “C” Connector (ME725M1C)  Megadyne ACE Blade 700, 2.5”, MODIFIED, ZIP Pen, “EC” Connector (ME725M1E) |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables. |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| External MFG Engineer | 2018-ENG-DCO-217 | Dave Daniels |
| \*\* | \*\* | \*\* |
| \*\*External MFG Engineer | \*\*2019-MKT-DCO-179 | \*\*Dave Daniels |
| \*\*External MFG Engineer | \*\*2019-MKT-DCO-036 | \*\*Dave Daniels |
|  | \*\*3151073-01 Shipping Label ME7251C |  |
|  | \*\*3151074-01 Shipping Label ME725M1C |  |
|  | \*\*3151075-01 Shipping Label ME7251E |  |
|  | \*\*3151076-01 Shipping Label ME725M1E |  |