**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Update Megadyne Labeling per International Labeling Requirements (RA-DOC-017) |

|  |  |  |
| --- | --- | --- |
| **Originated by: Felix Gutierrez / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | Angel Maldonado SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Revised to close Cp0235. Deliverables added to the supporting files section. |

Scope

|  |  |
| --- | --- |
| Project Scope | Megadyne product labeling is being updated to meet the international labeling requirements in order to distribute Megadyne product globally. These labeling changes will require a product mod code change from 00 to 01. |

|  |  |
| --- | --- |
| Product Name and Codes | Refer to Attachment 1 – Megadyne Product Codes |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables: |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| Life Cycle | 2019-MKT-DCO-041 | Brian Bertke |
|  | * Label Artwork for ACE700 Zip Pencil (3900336)   \*\* See Attachment: 3900336-01 Pouch\_ 8.50 X 10.0\_ Megadyne 700 Pencil\_ Standard Connector-1 |  |
|  | * Label Artwork for ACE700 Zip Pencil (3900337)   \*\* See Attachment: 3900337 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3900338)   \*\* See Attachment: 3900338 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3900339)   \*\* See Attachment: 3900339 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE 700 Pencil (3151456)   \*\* See Attachment: 3151456 Label Artwork for ACE 700 Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3151457)   \*\* See Attachment: 3151457 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3151458)   \*\* See Attachment: 3151458 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3151459)   \*\* See Attachment: 3151459 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3151462)   \*\* See Attachment: 3151462 Label Artwork for ACE700 Zip Pencil |  |
|  | * Label Artwork for ACE700 Zip Pencil (3151463)   \*\* See Attachment: 3151463 Label Artwork for ACE700 Zip Pencil |  |
| Life Cycle | 2019-MKT-DCO-042 | Brian Bertke |
|  | * IFU Zip Pen (3000336)   \*\* See Attachment: 3000336-01 Zip Pen Smoke Evacuation Pencil |  |
|  | * IFU ACE Blade Electrodes (3000337)   \*\* See Attachment: |  |
| Life Cycle | 2019-MKT-DCO-043 | Brian Bertke |
|  | * Artwork, Shipper Box, Zip pen (3900340)   \*\* See Attachment: 3900340 Artwork, Shipper Box, Zip pen |  |
| Life Cycle | 2019-ENG-DCO-067 | Brian Bertke |
|  | * ACE BLADE 700, 2.5", ZIP PEN, "C" CONNECTOR, 10 FT. TUBING (ME7251C)   \*\* See Attachment: ME7251C ACE BLADE 700, 2.5", ZIP PEN, "C" CONNECTOR, 10 FT. TUBING |  |
|  | * ACE BLADE 700, 2.5", ZIP PEN, EC CONNECTOR, 10 FT. TUBING (ME7251E)   \*\* See Attachment: ME7251E ACE BLADE 700, 2,5, ZIP PEN, EC CONNECTOR |  |
|  | * ACE BLADE 700, 2.5", MODIFIED, ZIP PEN, "C" CONNECTOR, 10 FT. TUBING (ME725M1C)   \*\* See Attachment: ME725M1C ACE BLADE 700, 2.5", MODIFIED, ZIP PEN, "C" CONNECTOR, 10 FT. TUBING |  |
|  | * ACE BLADE 700, 2.5", MODIFIED, ZIP PEN, EC CONNECTOR, 10 FT. TUBING (ME725M1E)   \*\* See Attachment: ME725M1E ACE BLADE 700, 2.5, MODIFIED, ZIP PEN, EC CONNECTOR, 10 FT. TUBING |  |
| Life Cycle | 2019-MKT-DCO-123 | Brian Bertke |
|  | * ACE700 Translation (3151721)   \*\* See Attachment: 3151721 ACE700 Translation |  |

ATTACHMENT 1

Megadyne Product Codes

|  |  |
| --- | --- |
| **Product Codes** | **Description** |
| ME7251C | ACE BLADE 700, 2.5", ZIP PEN, "C" CONNECTOR, 10 FT. TUBING |
| ME7251E | ACE BLADE 700, 2.5", ZIP PEN, EC CONNECTOR, 10 FT. TUBING |
| ME725M1C | ACE BLADE 700, 2.5", MODIFIED, ZIP PEN, "C" CONNECTOR, 10 FT. TUBING |
| ME725M1E | ACE BLADE 700, 2.5", MODIFIED, ZIP PEN, EC CONNECTOR, 10 FT. TUBING |