**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Update Megadyne Labeling per International Labeling Requirements (RA-DOC-022) |

|  |  |  |
| --- | --- | --- |
| **Originated by: Felix Gutierrez / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | Angel Maldonado SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Revised to close Cp0235. Deliverables added to the supporting files section. |

Scope

|  |  |
| --- | --- |
| Project Scope | Megadyne product labeling is being updated to meet the international labeling requirements in order to distribute Megadyne product globally. These labeling changes will require a product mod code change from 00 to 01. |

|  |  |
| --- | --- |
| Product Name and Codes | Refer to Attachment 1 – Megadyne Product Codes |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables: |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| Life Cycle | 2019-MKT-DCO-051 | Brian Bertke |
|  | * Label, E-Z Clean Blade (3900341)   \*\* See Attachment: 3900341-01 Pouch\_ 4.33 X .98 (0012) (MV) |  |
|  | * Label, E-Z Clean Blade (3900342)   \*\* See Attachment: 3900342-01 Pouch\_ 4.33 X .98 (0012A) (MV) |  |
|  | * Label, E-Z Clean Blade (3900343)   \*\* See Attachment: 3900343-01 Pouch\_ 4.33 X .98 (0012AM) (MV) |  |
|  | * Label, E-Z Clean Blade (3900344)   \*\* See Attachment: 3900344-01 Pouch\_ 4.33 X .98 (0012AMP) (MV) |  |
|  | * Label, E-Z Clean Blade (3900345)   \*\* See Attachment: 3900345-01 Pouch\_ 4.33 X .98 (0012AP) (MV) |  |
|  | * Label, E-Z Clean Blade (3900346)   \*\* See Attachment: 3900346-01 Pouch\_ 4.33 X .98 (0012M) (MV) |  |
|  | * Label, E-Z Clean Blade (3151467)   \*\* See Attachment: 3151467-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151468)   \*\* See Attachment: 3151468-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151469)   \*\* See Attachment: 3151469-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151470)   \*\* See Attachment: 3151470-01 Label\_ E-Z Clean\_ Pr |  |
|  | * Label, E-Z Clean Blade (3151471)   \*\* See Attachment: 3151471-01 Label\_ E-Z Clean\_ Pr |  |
|  | * Label, E-Z Clean Blade (3151472)   \*\* See Attachment: 3151472-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151475)   \*\* See Attachment: 3151475-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean Blade (3151476)   \*\* See Attachment: 3151476-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean Blade (3151477)   \*\* See Attachment: 3151477-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean Blade (3151478)   \*\* See Attachment: 3151478-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean Blade (3151479)   \*\* See Attachment: 3151479-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean Blade (3151480)   \*\* See Attachment: 3151480-01 Label\_ Case Box\_ E-Z |  |
| Life Cycle | 2019-MKT-DCO-052 | Brian Bertke |
|  | * IFU, E-Z Clean, Electrode (3000338)   \*\* See Attachment: 3000338-01 IFU E-Z Clean Electrodes |  |
| Life Cycle | 2019-MKT-DCO-053 | Brian Bertke |
|  | * UNIT BOX, PRE-PRINTED 4-3/8 X 5-7/8 X 1 (3200201)   \*\* See Attachment: 3200201-02 Unit Box\_ Pre-Printed\_ 5.88 X 4.38 X 1.0 |  |
| Life Cycle | 2019-ENG-DCO-081 | Brian Bertke |
|  | * Electrode, Flat Blade, Insulated/Coated, 2.5, Pouched (MV) – Assembly (0012)   \*\* See Attachment: 0012 Pouched Electrode\_ E-Z Clean\_ Flat Blade\_ Coated\_ Insulated\_ 2.5-1 |  |
|  | * Electrode, Flat Blade, Insulated/Coated, 2.75, Pouched (MV) - Assembly (0012A)   \*\* See Attachment: 0012A Pouched Electrode\_ E-Z Clean\_ Flat Blade\_ Coated\_ Insulated\_ 2.75-1 |  |
|  | * Electrode, Flat Blade, Modified, Insulated/Coated, 2.75, Pouched (MV) - Assembly (0012AM)   \*\* See Attachment: 0012AM Pouched Electrode\_ E-Z Clean\_ Flat Blade\_ Mod\_ Coated\_ Insulated\_ 2.75-1 |  |
|  | * Electrode, E-Z Clean Precision, Modified, Pouched, 2.75 (0012AMP)   \*\* See Attachment: 0012AMP Electrode\_ E-Z Clean Precision\_ Modified\_ Pouched 2.75-1 |  |
|  | * Electrode, E-Z Clean Precision, Pouched, 2.75 (0012AP)   \*\* See Attachment: 0012AP Electrode\_ E-Z Clean Precision\_ Pouched\_ 2.75 |  |
|  | * Electrode, Flat Blade, Insulated/Coated, 2.5, Pouched (MV) - Assembly (0012M)   \*\* See Attachment: 0012M Pouched Electrode\_ Flate Blade\_ Modified\_ Coated\_ Insulated\_ 2.5 Assembly (MV) -1 |  |
| Life Cycle | 2019-MKT-DCO-054 | Brian Bertke |
|  | * Label, E-Z Clean Blade (3151483)   \*\* See Attachment: 3151483-01 Label\_ E-Z Clean\_ Fl-1 |  |
|  | * Label, E-Z Clean Blade (3151484)   \*\* See Attachment: 3151484-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151485)   \*\* See Attachment: 3151485-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3900349)   \*\* See Attachment: 3900349-01 Pouch\_ 4.33 X .98 (0012C) (MV) |  |
|  | * Label, E-Z Clean Blade (3151486)   \*\* See Attachment: 3151486-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean Blade (3151487)   \*\* See Attachment: 3151487-01 Label\_ E-Z Clean\_ Fl-1 |  |
|  | * Label, E-Z Clean Blade (3151488)   \*\* See Attachment: 3151488-01 Label\_ E-Z Clean\_ Ne-1 |  |
|  | * Label, E-Z Clean Blade (3151489)   \*\* See Attachment: 3151489-01 Label\_ E-Z Clean\_ Fl |  |
|  | * Label, E-Z Clean, Blade (3151490)   \*\* See Attachment: 3151490-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean, Blade (3151491)   \*\* See Attachment: 3151491-01 Label\_ Case Box\_ E-Z |  |
|  | * Label, E-Z Clean, Blade (3151492)   \*\* See Attachment: 3151492-01 Label\_ Case Box\_ E-Z-1 |  |
|  | * Label, E-Z Clean, Blade (3151493)   \*\* See Attachment: 3151493-01 Label\_ Case Box\_ E-Z |  |
| Life Cycle | 2019-MKT-DCO-052 | Brian Bertke |
|  | * IFU, E-Z Clean, Electrode (3000338)   \*\* See Attachment: 3000338-01 IFU E-Z Clean Electrodes |  |
| Life Cycle | 2019-MKT-DCO-053 and 2019-MKT-DCO-055 | Brian Bertke |
|  | * UNIT BOX, PRE-PRINTED 4-3/8 X 5-7/8 X 1 (3200201)   \*\* See Attachment: 3200201-02 Unit Box\_ Pre-Printed\_ 5.88 X 4.38 X 1.0 |  |
|  | * UNIT BOX, PRE-PRINTED 5-7/8 X 4-3/8 X 2-5/16 (3200202)   \*\* See Attachment: 3200202-01 Unit box\_ Pre-Printed 5.88 X 4.38 X 2.312 |  |
| Life Cycle | 2019-ENG-DCO-082 | Brian Bertke |
|  | * EZ Clean 2.75 Mod. Blade with Nose Cone (0012AMD)   \*\* See Attachment: 0012AMD Pouched Electrode\_ E-Z Clean\_ Flat Blade\_ Mod\_ Coated\_ Insulated\_ Nose Cone 2.75 |  |
|  | * EZ Clean 2.5 Mod. Blade with Nose Cone (0012MD)   \*\* See Attachment: 0012MD Pouched Electrode\_ Flate Blade\_ Mod\_ With Nose Cone\_ Coated\_ Insulated\_ 2.5-1 |  |
|  | * EZ Clean 2.75 Mod. Needle with Nose Cone (0013MD)   \*\* See Attachment: 0013MD E-Z Clean 2.75 Mod\_ Needle with Nose Cone |  |
|  | * Pouched Electrode, Flat Blade, Coated, Insulated Short 2.5 Assembly (MV) (0012C)   \*\* See Attachment: 0012C Pouched Electrode\_ Flate Blade\_ Coated\_ Insulated\_ 2.5 Assembly (MV) |  |
| Life Cycle | 2019-MKT-DCO-056 | Brian Bertke |
|  | * Electrosurgical Electrode-Translation Label (3151494)   \*\* See Attachment: 3151494-01-Electrosurgical Electrode-Translation Label-1 |  |

ATTACHMENT 1

Megadyne Product Codes

|  |  |
| --- | --- |
| **Product Codes** | **Description** |
| 0012 | Electrode, Flat Blade, Insulated/Coated, 2.5, Pouched (MV) – Assembly |
| 0012A | Electrode, Flat Blade, Insulated/Coated, 2.75, Pouched (MV) - Assembly |
| 0012AM | Electrode, Flat Blade, Modified, Insulated/Coated, 2.75, Pouched (MV) - Assembly |
| 0012AMP | Electrode, E-Z Clean Precision, Modified, Pouched, 2.75 |
| 0012AP | Electrode, E-Z Clean Precision, Pouched, 2.75 |
| 0012M | Electrode, Flat Blade, Insulated/Coated, 2.5, Pouched (MV) - Assembly |
| 0012AMD | EZ Clean 2.75 Mod. Blade with Nose Cone |
| 0012MD | EZ Clean 2.5 Mod. Blade with Nose Cone |
| 0013MD | EZ Clean 2.75 Mod. Needle with Nose Cone |
| 0012C | Pouched Electrode, Flat Blade, Coated, Insulated Short 2.5 Assembly (MV) |