**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Update Megadyne Labeling per International Labeling Requirements (CN 171537) |

|  |  |  |
| --- | --- | --- |
| **Originated by: Felix Gutierrez / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | Angel Maldonado SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Revised to close Cp0235. Deliverables added to the supporting files section. |

Scope

|  |  |
| --- | --- |
| Project Scope | Megadyne product labeling is being updated to meet the international labeling requirements in order to distribute Megadyne product globally. These labeling changes will require a product mod code change from 00 to 01. |

|  |  |
| --- | --- |
| Product Name and Codes | Refer to Attachment 1 – Megadyne Product Codes |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables: |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| Life Cycle | CN 171537 (Windchill Change Notice) | Brian Bertke |
|  | * Adult, Single Plate, With 9' (2.7M) Cord (0850C)   \*\* See Attachment: 0850C Adult, Single Plate, With 9ft (2.7M) Cord updated |  |
|  | * Adult, Dual Plate, No Cord (Recordable) (0855)   \*\* See Attachment: 0855 Adult, Dual Plate, No Cord (Recordable)-1 |  |
|  | * Adult, Dual Plate, With 15' (4.6M) Cord (0855CL)   \*\* See Attachment: 0855CL Adult, Dual Plate, With 15ft (4.6M) Cord-1 |  |
|  | * Adult, Dual Plate, with 9' (2.7M) Pre-attached Cord (0855CN)   \*\* See Attachment: 0855CN Adult, Dual Plate, With 9Ft (2.7M) Cord |  |
|  | * Pediatric, Dual Plate, With 9' (2.7M) Cord (0865C)   \*\* See Attachment: 0865C Pediatric, Dual Plate, With 9ft (2.7M) Cord-1 |  |

ATTACHMENT 1

Megadyne Product Codes

|  |  |
| --- | --- |
| **Product Codes** | **Description** |
| 0850C | Adult, Single Plate, With 9' (2.7M) Cord |
| 0855 | Adult, Dual Plate, No Cord (Recordable) |
| 0855CL | Adult, Dual Plate, With 15' (4.6M) Cord |
| 0855CN | Adult, Dual Plate, with 9' (2.7M) Pre-attached Cord |
| 0865C | Pediatric, Dual Plate, With 9' (2.7M) Cord |