**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Megadyne Mega Power 1000 Generator Warning Label Update |

|  |  |  |
| --- | --- | --- |
| **Originated by: Dave Daniels / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | Karen Cabrera SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Project complete. All documentation has been released in the Megadyne system and attached to this CP0235. |

Scope

|  |  |
| --- | --- |
| Project Scope | A warning label is being added to the Megadyne Mega Power 1000 generator faceplate to caution users not to plug two devices into one channel. This change is a result of an action item defined in CAPA-008296. A mod code change from 00 to 01 will be incorporated to identify the change. |

|  |  |
| --- | --- |
| Product Name and Codes | Megadyne Mega Power 1000 |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables. |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| External MFG Engineer | \*\*2018-MKT-DCO-183 | Dave Daniels |
|  | \*\*Assembly Drawing (1000) |  |
|  | \*\*Label, Mod Code 01 (3151333) |  |
|  | \*\*Label, ESU Output Connection Instruction (3151269) |  |