**STRATEGY PLAN FORM**

Introduction

|  |  |
| --- | --- |
| Project Name | Megadyne 1400JJ and 1450J Footswitch Serial Number Controlled Update |

|  |  |  |
| --- | --- | --- |
| **Originated by: Dave Daniels / External Manufacturing Engineer SEE EPI ESIG** | | |
|  |  | Date |

|  |  |
| --- | --- |
| Review / Approval | Karen Cabrera SEE EPI ESIG  Contract Account Manager (Supplier Relationship Manager) Date  Kofi Baah SEE EPI ESIG  Engineering Manager (Technical Operations Manager) Date  Kent Allen SEE EPI ESIG  EM Quality Manager Date |

|  |  |
| --- | --- |
| Revision | Summary |
| A | Original |
| B | Project is complete. Documentation as defined in the deliverables section can be found in supporting files or in EPI as stand alone documents. |

Scope

|  |  |
| --- | --- |
| Project Scope | \*\*Changing Ethicon system from lot number to serial number controlled for Mega Power 1000 Footswitch product codes 1400JJ and 1450J. Change is required because serial number product labels are serial number controlled. A mod code change from 00 to 01 will be incorporated to identify the change. |

|  |  |
| --- | --- |
| Product Name and Codes | Megadyne Monopolar Footswitch 1400JJ and Bipolar Footswitch 1450J |

|  |  |
| --- | --- |
| Product Category | The identified product code(s) are a Category \_E\_\_ per **CP0235.** |

|  |  |
| --- | --- |
| Responsible Areas | The following functional areas have been identified as those responsible for deliverables. |

|  |  |  |
| --- | --- | --- |
| Functional Area | Strategy/Deliverable (Content or Reference) | Person Responsible |
| External MFG Engineer | Monopolar Footswitch Assembly (1400JJ Rev 001) | Dave Daniels |
| External MFG Engineer | Bipolar Footswitch Assembly (1450J Rev 001) | Dave Daniels |
| External MFG Engineer | Product Master Data Specification (SPE003917 Rev B) | Dave Daniels |
| External MFG Engineer | Product Master Data Specification (SPE003918 Rev B) | Dave Daniels |