## Observations
SI No. | # | Name | Title | Type | Revision | Class | Lifecycle State | Scanned In | Checked Out? | Modified Date | Owner Name | understanding from document | Queries
1 | 0017
| 1 | PRC097519,A,2,Curing Oven w/Truck E19582 MaxID: ES2904 Software Validation Protocol | Curing Oven w/Truck E19582 MaxID: ES2904 Software Validation Protocol | Protocol Software Validation | A | Protocol | Released |  | NO | 09/03/2020 12:24:19:070 | Release | validation report explaining the requirement of curing oven | Should we include this test in Gap assesment? as it is not included in TRD
| 2 | PRC097119,A,2,Completion Report of E20291 MaxID: ES2910, PTFE Refrigeration Station Software Validation | Completion Report of E20291 MaxID: ES2910, PTFE Refrigeration Station Software Validation | None | A | Completion Report | Released |  | NO | 08/27/2020 09:54:56:799 | Release | Test report | Not mentioned in TRD
| 3 | PRC097508,A,4,Pre-Heat Oven E19578 MaxID:ES4357 Software Validation Protocol | Pre-Heat Oven E19578 MaxID:ES4357 Software Validation Protocol | Protocol Software Validation | A | Protocol | Released |  | NO | 08/25/2020 18:41:49:955 | Release | validation report explaining the requirement of Pre-Heat oven | Should we include in Gap assesment? as it is not included in TRD
| 4 | PRC096666,A,5,IQ Protocol for Pre-Heat Oven E19578 , Coating modifier scale E20258 | IQ Protocol for Pre-Heat Oven E19578 , Coating modifier scale E20258 | Protocol Equipment Install Qual | A | Protocol | Released |  | NO | 08/12/2020 17:49:46:017 | Release | 1.Functionality testing of installed fixtues and equipments 2.Other references documents mentioned to be refered for gap assessment | not mentioned in TRD
| 5 | PRC096669,A,6,IQ Protocol for Curing Oven w/Truck E19582 MaxID:ES2904 | IQ Protocol for Curing Oven w/Truck E19582 MaxID:ES2904 | Protocol Equipment Install Qual | A | Protocol | Released |  | NO | 08/12/2020 13:39:56:642 | Release | 1.Functionality testing of installed fixtues and equipments 2.Other references documents mentioned to be refered for gap assessment | not mentioned in TRD
| 6 | PRC097117,A,3,E20291 PTFE Refrigeration Station Software Validation | E20291 PTFE Refrigeration Station Software Validation | Protocol Software Validation | A | Protocol | Released |  | NO | 08/10/2020 10:50:33:215 | Release | PTFE refrigeration Software validation document | not mentioned in TRD
| 7 | SPE003758,C,2,0017 Megadyne Product Master Data Specification | 0017 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/07/2020 14:10:10:561 | Release | includes dimensions and weight details of 0017 | _
| 8 | DR000772,A,1,Update Megadyne Product Labeling | Update Megadyne Product Labeling | PCO | A | Design Requirement | Released |  | NO | 06/29/2020 16:25:54:309 | Release | it has list of document names, documents have dimensional spec
| 9 | SCN074446,A,2,Update Megadyne Labeling per International Labeling Requirements (RA-DOC-022) | Update Megadyne Labeling per International Labeling Requirements (RA-DOC-022) | ECR/ECP supportive documents | A | Scanned (Hardcopy) Item | Released |  | NO | 03/31/2020 08:48:25:191 | Release | Proof document showing that megadye product packaging meet the standards
2 | 0018
| 10 | SPE003759,C,2,0018 Megadyne Product Master Data Specification | 0018 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:500 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
| 11 | PRC096898,A,4,Gamma Sterilization Validation for Mimas Blade and Needle Products Due to Manufacturing Transfer | Gamma Sterilization Validation for Mimas Blade and Needle Products Due to Manufacturing Transfer | Sterilization Validation | A | Protocol | Released |  | NO | 07/23/2020 15:22:16:251 | Release | Sterilization validation
3 | 0018C
| 12 | SPE003760,C,2,0018C Megadyne Product Master Data Specification | 0018C Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:485 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
4 | 0018CS
| 13 | SPE003761,C,2,0018CS Megadyne Product Master Data Specification | 0018CS Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:453 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
| 14 | DR000815,A,2,Update Megadyne Product Labeling | Update Megadyne Product Labeling | PCO | A | Design Requirement | Released |  | NO | 07/23/2020 09:18:15:005 | Release | it has list of document names, documents have dimensional spec
| 15 | SCN076150,A,2,Update Megadyne Labeling per International Labeling Requirements (RA-DOC-031) | Update Megadyne Labeling per International Labeling Requirements (RA-DOC-031) | ECR/ECP supportive documents | A | Scanned (Hardcopy) Item | Released |  | NO | 06/18/2020 16:49:59:194 | Release | Proof document showing that megadye product packaging meet the standards
5 | 0019
| 16 | SPE003762,C,2,0019 Megadyne Product Master Data Specification | 0019 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:891 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
6 | 0019L
| 17 | SPE003764,C,2,0019L Megadyne Product Master Data Specification | 0019L Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:02:547 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
7 | 0019LS
| 18 | SPE003921,C,2,0019LS Megadyne Product Master Data Specification | 0019LS Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:860 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
8 | 0019S
| 19 | SPE003766,C,2,0019S Megadyne Product Master Data Specification | 0019S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/07/2020 14:10:09:733 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
9 | 0020
| 20 | SPE003767,C,2,0020 Megadyne Product Master Data Specification | 0020 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:813 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
10 | 0020L
| 21 | SPE003769,C,2,0020L Megadyne Product Master Data Specification | 0020L Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:751 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
11 | 0020LS
| 22 | SPE003923,C,2,0020LS Megadyne Product Master Data Specification | 0020LS Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:453 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
12 | 0020S
| 23 | SPE003771,C,2,0020S Megadyne Product Master Data Specification | 0020S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:657 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
13 | 0021
| 24 | SPE003773,C,2,0021 Megadyne Product Master Data Specification | 0021 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:01:407 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
| 25 | DR000840,A,2,Update Megadyne Product Labeling | Update Megadyne Product Labeling | PCO | A | Design Requirement | Released |  | NO | 08/19/2020 14:11:08:923 | Release | it has list of document names, documents have dimensional spec
| 26 | SCN076749,A,3,Update Megadyne Labeling per International Labeling Requirements (RA-DOC-023) | Update Megadyne Labeling per International Labeling Requirements (RA-DOC-023) | ECR/ECP supportive documents | A | Scanned (Hardcopy) Item | Released |  | NO | 07/02/2020 11:50:14:351 | Release | Proof document showing that megadye product packaging meet the standards
14 | 0021L
| 27 | SPE003775,C,2,0021L Megadyne Product Master Data Specification | 0021L Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:02:719 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
15 | 0021LS
| 28 | SPE003926,C,2,0021LS Megadyne Product Master Data Specification | 0021LS Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/19/2020 14:01:03:141 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
16 | 0021S
| 29 | SPE003777,C,2,0021S Megadyne Product Master Data Specification | 0021S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/18/2020 11:46:29:175 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
17 | 0022
| 30 | SPE003778,C,2,0022 Megadyne Product Master Data Specification | 0022 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/18/2020 11:46:29:175 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
18 | 0022S
| 31 | SPE003779,C,2,0022S Megadyne Product Master Data Specification | 0022S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/18/2020 11:46:29:113 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
19 | 0024
| 32 | SPE003780,C,2,0024 Megadyne Product Master Data Specification | 0024 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 14:13:53:198 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
20 | 0026S
| 33 | SPE003781,C,2,0026S Megadyne Product Master Data Specification | 0026S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 14:13:53:355 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
21 | 0055
| 34 | SPE003830,B,2,0055 Megadyne Product Master Data Specification | 0055 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:167 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
22 | 0060
| 35 | SPE003831,B,2,0060 Megadyne Product Master Data Specification | 0060 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:355 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
23 | 0062
| 36 | SPE003832,B,2,0062 Megadyne Product Master Data Specification | 0062 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:480 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
24 | 0063
| 37 | SPE003833,B,2,0063 Megadyne Product Master Data Specification | 0063 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:198 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
25 | 0064
| 38 | SPE003834,B,2,0064 Megadyne Product Master Data Specification | 0064 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:542 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
26 | 0080
| 39 | SPE003837,B,2,0080J Megadyne Product Master Data Specification | 0080J Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 09/02/2020 14:24:08:548 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
27 | 0085
| 40 | SPE003838,B,2,0085 Megadyne Product Master Data Specification | 0085 Megadyne Product Master Data Specification | Product Master Data Specification | B | Specification | Released |  | NO | 08/25/2020 14:13:53:808 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
28 | 00100
| 41 | SPE003839,C,2,0100 Megadyne Product Master Data Specification | 0100 Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 14:13:53:245 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
29 | 00100L
| 42 | SPE003841,C,2,0100L Megadyne Product Master Data Specification | 0100L Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 14:13:54:230 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
30 | 00100LS
| 43 | SPE003842,C,2,0100LS Megadyne Product Master Data Specification | 0100LS Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 14:13:53:573 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
31 | 00100S
| 44 | SPE003843,C,2,0100S Megadyne Product Master Data Specification | 0100S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 15:08:52:205 | Release | includes dimensions, weight, packaging, sterilization,pricing details.
32 | 00105S
| 45 | SPE003845,C,2,0105S Megadyne Product Master Data Specification | 0105S Megadyne Product Master Data Specification | Product Master Data Specification | C | Specification | Released |  | NO | 08/25/2020 15:08:51:564 | Release | includes dimensions, weight, packaging, sterilization,pricing details.