## Template of VMP Log Mfg. equ
VALIDATION MASTER LOG for the Cincinnati Service Center
Department: Service and Repair
Sr. No. | Equipment / Process Name | Equipment ID Number | Product Name (if applicable) | Validation Type (IQ / OQ / PQ / CSV / CIQ / TMV) | Validation Document Numbers | Last Validation/ Periodic Review Done date | Document Location | Frequency of revalidation/ periodic review | Revalidation/Periodic Review Planned Date | Periodic Review form Number (if applicable) | Validation/Periodic review status (On Time / Delay) | Remarks
1 | Electrical Safety Test Equipment Setup (Chroma Electrosurgical Analyzer ) | See reference(PRC) document for details | All Capital Equipment serviced at the Cincinnati service center | IQ,OQ and PQ | PRC031315/PRC031316 | See reference(PRC) document for details | EPI Center | Annually | 2020-10-23 | DOC028002 | On Time | N/A
2 | GEN 11 Service and Repair Process | See reference(PRC) document for details | GEN 11 | IQ,OQ and PQ | PRC052090/PRC052091 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
3 | Ethicon Versa point Generator Service and Repair Process | See reference(PRC) document for details | Ethicon Versa point Generator | IQ and OQ | PRC056045/PRC056046 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
4 | Generator G11 - Processor Board Reset | See reference(PRC) document for details | GEN 11 | IQ,OQ and PQ | PRC057116/PRC057118 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
5 | Generator G11 for EES Service Center Service and Repair Process – Relocation | See reference(PRC) document for details | GEN11 | IQ,OQ and PQ | PRC063431/PRC063432 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
6 | Generator Test Station (non-GTS) for Gyrus Generators Service and Repair Process– Relocation | See reference(PRC) document for details | Gyrus Generators | IQ,OQ and PQ | PRC063446/PRC063447 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
7 | GEN11 Instruction Template Qualification Protocol | See reference(PRC) document for details | GEN 11 | Template Verification | PRC086568/PRC086569 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
8 | DePuy Mitek VAPR VUE Generator and VAPR VUE Footswitch Service and Repair Process – Relocation | See reference(PRC) document for details | DePuy Mitek VAPR VUE Generator and VAPR VUE Footswitch | IQ,OQ and PQ | PRC063450/PRC063451 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
9 | DePuy Mitek FMS DUO Fluid Management System Service and Repair Process | See reference(PRC) document for details | DePuy Mitek FMS DUO Fluid Management System | IQ,OQ and PQ | PRC063453/PRC063454 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
10 | DePuy Mitek FMS SOLO Fluid Management System Service and Repair Process- Relocation | See reference(PRC) document for details | DePuy Mitek FMS SOLO Fluid Management System | IQ,OQ and PQ | PRC063462/PRC063463 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
11 | Ethicon Versa point Generator Service and Repair Process – Relocation | See reference(PRC) document for details | Ethicon Versa point Generator | IQ,OQ and PQ | PRC063481/PRC063482 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
12 | SB13-003 Implementation EES Service Center Electrical Safety Parameters Adjustments | See reference(PRC) document for details | All Capital Equipment serviced at the Cincinnati service center | Service Bulletin Implementation | PRC065490/PRC065491 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
13 | Mentor PSI-TEC III (110V or 220V) Aspirator Service and Repair Process | See reference(PRC) document for details | Mentor PSI-TEC III | IQ,OQ and PQ | PRC070582/PRC070583 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
14 | Mentor Accelerator II (110V or 220V) Aspirator Service and Repair Process | See reference(PRC) document for details | Mentor Accelerator II | IQ,OQ and PQ | PRC070584/PRC070585 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
15 | Smart Ablate Service and Repair Process | See reference(PRC) document for details | Smart Ablate | IQ,OQ and PQ | PRC080996/PRC080997 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
16 | Megadyne Mega Power 1000 Electrosurgical Generator Service and Repair Process | See reference(PRC) document for details | Megadyne Mega Power 1000 Electrosurgical Generator | IQ and PQ | PRC086802/PRC086803 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
17 | Micro Handpiece Service and Repair Process- Service Transfer | See reference(PRC) document for details | Micro Hand Piece | IQ,OQ and PQ | PRCO68891/PRC068892 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
18 | Pure VUE Autoclavable Camera Service and Repair Process- Service Transfer | See reference(PRC) document for details | PURE Vue | IQ,OQ and PQ | PRC083387 /PRC083388 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
19 | FMS VUE II Fluid Management and Tissue Debridement System Service and Repair Process | See reference(PRC) document for details | FMS Vue II | IQ and PQ | PRC084858/PRC084859 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
20 | FMS VUE Fluid Management system Service and Repair Process | See reference(PRC) document for details | FMS Vue | IQ and OQ | PRC065720/PRC065721 | See reference(PRC) document for details | EPI Center | Annually | 10/23/2020 | DOC028002 | On Time | N/A
21 | Megadyne MegaVac and MegaVac Plus Smoke Evacuators Service and Repair Process | See reference(PRC) document for details | MegaVac and MegaVac Plus | IQ and PQ | IQ Protocol and Completion Report PRC094304/PRC094305 PQ Protocol and Completion Report PRC0934306/PRC094307 | See reference(PRC) document for details | EPI Center | Annually | 2020-10-23 | DOC028002 | On Time | N/A
22 | Mitek Pure VUE™ Camera Control System (CCS) Service and Repair Process | See reference(PRC) document for details | Mitek Pure VUE™ Camera Control System | IQ and PQ | IQ Protocol and Completion Report PRC089415/PRC089416 PQ Protocol and Completion Report PRC089413/PRC089414 | See reference(PRC) document for details | EPI Center | Annually | 2020-10-23 | DOC028002 | On Time | N/A
23 | Megadyne Smoke Plume Evacuator Service and Repair Process | See reference(PRC) document for details | Megadyne Smoke Plume Evacuator | IQ and PQ | IQ Protocol and Completion Report PRC093342/PRC093343 PQ Protocol and Completion Report PRC093346/PRC093347 | See reference(PRC) document for details | EPI Center | Annually | 2020-10-23 | DOC028002 | On Time | N/A

## Cover sheet revision history
Revision History for (100472148)
Revision # | Summary of Change
5 | Updated to revise column 'Validation Done date' to 'Last Validation/ Periodic Review Done date'
4 | Updated to include columns related to Product Name and Periodic review and to remove Aurangabad from the scope of this template
3 | Update to include data from VMP Schedule to obsolete VMP Schedule
2 | Removed manual approval and to be done through ADAPTIV
1 | New Master Validation Master Plan (MVP) log for Equipments/Process of Ethicon, Aurangabad & Baddi.
This form supports Site VMP for Baddi (100671249)
Instructions: | 1.VMP Log template will be used to list Manufacturing, Facility & Quality Equipment Process Validations
2. Date shall be filled in the format as mentioned in the template i.e. (DD/MM/YY)