## Primary Template
PRODUCT MASTER DATA SPECIFICATION
0865C
Document Number: |  |  | ECN #: | Revision (letter):
SPE003910 |  |  | ECN031435 | C
Master Data / GUDID Data Elements | MDM or SAP Value (Y/N) | LSP Upload Tool Value (Y/N) | Configuration | Configuration | Configuration
|  |  | 0865C | 010865C
PRODUCT INFORMATION SECTION
Packaging Assembly Number | No | No | N/A | N/A
Product Shelf Life (Months) | Yes | No | 36 | 36
Maximum Sterilization Dose | No | No | N/A | N/A
Company Name | Yes | Yes | Megadyne Medical Products, Inc | Megadyne Medical Products, Inc
Single Use Product? | Yes | Yes | Yes | Yes
Capital Indicator | Yes | No | No | No
Associated Product Code Indicator | Yes | No | No | No
Associated Product Code | No | No | N/A | N/A
Special Storage Requirement Code / Conditions: | Yes | Yes | N/A | N/A
Product SubType | Yes | No | Manufactured Finished Good | Manufactured Finished Good
Is this product software? | Yes | No | No | No
Is product considered hazardous? | Yes | No | Not Hazardeous | Not Hazardeous
Device Part Marking Required? | Yes | Yes | No | No
Device Part Marking Exemption Rationale (if "No" in Row 26) | Yes | Yes | Single Use Device | Single Use Device
GTIN (Primary Device Identifier) | Yes | Yes | 10614559102770 | 10614559102770
LABELING SECTION
Device Description | No | Yes | Patient Return Electrode, Single-Use, Contact Quality Monitoring, Pediatric, With 9 ft. (2.7m) cord. For patients weighing between 6-33lbs. (2.7-15kg) | Patient Return Electrode, Single-Use, Contact Quality Monitoring, Pediatric, With 9 ft. (2.7m) cord. For patients weighing between 6-33lbs. (2.7-15kg)
Device Labeled as "containing natural rubber latex or dry natural rubber" | Yes | Yes | No | No
Is the device labeled as "not made with natural rubber latex"? | No | Yes | No | No
Does this product have a clinically relevant size? | No | No | No | No
Clinically Relevant Size (free text): | No | Yes | N/A | N/A
What MRI Safety Information does the labeling contain? | Yes | Yes | Labeling does not contain MRI safety information | Labeling does not contain MRI safety information
Brand Name | Yes | Yes | Megadyne | Megadyne
Product has special Storage and Handling Conditions? | No | Yes | Yes | Yes
Storage and Handling Type 1? | No | Yes | Storage Environment Temperature | Storage Environment Temperature
Storage and Handling Low Value 1: | No | Yes | 5 | 5
Storage and Handling High Value 1: | No | Yes | 50 | 50
Storage and Handling Unit 1: | No | Yes | Degrees Celsius | Degrees Celsius
Storage and Handling Type 2? | No | Yes | Storage Environment Humidity | Storage Environment Humidity
Storage and Handling Low Value 2: | No | Yes | 15 | 15
Storage and Handling High Value 2: | No | Yes | 95 | 95
Storage and Handling Unit 2: | No | Yes | Percent (%) Relative Humidity | Percent (%) Relative Humidity
Customer Contact Phone: | No | Yes | +18015769669 | +18015769669
Customer Contact Email: | No | Yes | megadyne.udi@megadyne.com | megadyne.udi@megadyne.com
PACKAGING SECTION
Eaches per Box (device count) | Yes | No | 50 | 50
Eaches per Case | Yes | No | 200 | 200
Boxes per Case | Yes | No | 4 | 4
Instrument Net Weight | Yes | No | 8.5 | 8.5
**Number of Case Layers per Tote | No | No | N/A | N/A
**Total Number of Cases per Tote | No | No | N/A | N/A
Is an unpackaged GTIN required? | No | No | No | No
Unpackaged GTIN | No | Yes | N/A | N/A
Is product Lot or Serial Controlled? | Yes | No | Lot Controlled | Lot Controlled
Product is managed by a Date of Manufacture (DOM)? | No | Yes | No | No
Product is managed by the Expiration Date? | Yes | Yes | Yes | Yes
Product is managed by a Donation Identification Number? | No | Yes | No | No
Unit of Sale | Yes | No | Box | Box
**Case Part Number | No | No | N/A | N/A
**Is Case Part Number New? | No | No | N/A | N/A
**Case / Pallet Configuration | No | No | N/A | N/A
**Dimensional Units of Measure (Inches / Pounds/ Grams per Cubic Centimeter)
**Length (Each) | Yes | No | N/A | N/A
**Length (Box) | Yes | No | N/A | N/A
**Length (Case) | Yes | No | N/A | N/A
Width (Each) | Yes | No | N/A | N/A
Width (Box) | Yes | No | 15 | 15
Width (Case) | Yes | No | N/A | N/A
Height (Each) | Yes | No | N/A | N/A
Height (Box) | Yes | No | 11.5 | 11.5
Height (Case) | Yes | No | N/A | N/A
Weight (Each) | Yes | No | N/A | N/A
Weight (Box) | Yes | No | 8.5 | 8.5
Weight (Case) | Yes | No | N/A | N/A
**Density (Box) | No | No | N/A | N/A
**Density (Case) | No | No | N/A | N/A
GTIN (Each) | Yes | Yes | 10614559102770 | 10614559102770
GTIN (Box) | Yes | No | 30614559102774 | 30614559102774
GTIN (Case) | Yes | No | N/A | N/A
Single Unit Replacement Information (Inches )
Single Unit Replacement for this product? | Yes | No | N/A | N/A
Single Unit Replacement Product Code? | Yes | No | N/A | N/A
Single Unit Pack-Out Configuration? | Yes | No | N/A | N/A
Single Unit (Length) | Yes | No | N/A | N/A
Single Unit (Width) | Yes | No | N/A | N/A
Single Unit (Height) | Yes | No | N/A | N/A
Demonstration Unit Information (Inches)
Is there a Demonstration Unit for this product? | Yes | No | N/A | N/A
Demonstration Unit Product Code | Yes | No | N/A | N/A
Demonstration Unit Pack-Out (Length) | Yes | No | N/A | N/A
Demonstration Unit Pack-Out (Width) | Yes | No | N/A | N/A
Demonstration Unit Pack-Out (Height) | Yes | No | N/A | N/A
STERILIZATION SECTION
Packaged as Sterile? | Yes | Yes | No | No
Sterilization Method | Yes | No | N/A | N/A
Customer required to sterilize product prior to use? | No | No | No | No
Sterilization Method Prior to Use (customer)? | No | Yes | N/A | N/A
CONTRACT ADMINISTRATION SECTION
Product Type | Yes | No | 8 | 8
Contract Type | Yes | No | 9 | 9
Franchise Price Group | Yes | No | ES50 | ES50
DW Product Categorization | Yes | No | 308 - Ultracision | 308 - Ultracision
PRICING SECTION
Federal Schedule Supply Indicator | Yes | No | No | No
Product will require back pricing? | Yes | No | Yes | Yes
COMMERCIAL FINANCE SECTION
Minor Product Group Name and Number | Yes | No | 47110 | 47110
Product Tax Group | Yes | No | C1 | C1
REGULATORY AFFAIRS SECTION
Product is a Kit? | Yes | Yes | No | No
CE Mark? | Yes | No | Yes | Yes
Combination Product? | No | Yes | No | No
Prescription Status (Rx or OTC)? | No | Yes | Rx | Rx
Labeler Duns Number | No | Yes | 185444825 | 185444825
Device Exempt from Pre-Market Submission? | No | Yes | No | No
FDA Pre-Market Authorization Number: | No | Yes | K071080 | K071080
Supplement Number: | No | Yes | N/A | N/A
Human Cell, Tissue or Cellular Tissue Based Product (HCT/P)? | No | Yes | No | No
FDA Device Class: | No | Yes | II | II
FDA Product Code: | No | Yes | GEI | GEI
GMDN Code: | No | Yes | **58494 | **58494
FDA Listing Number | No | Yes | D171789 | D171789
NEW PRODUCT & LIFECYCLE PLANNING SECTION
Material Freight Group | Yes | No | 804R | 804R
Country of Origin | Yes | No | Taiwan | Taiwan
HTS Code | Yes | No | 9018.90.6000 | 9018.90.6000
Note on B8: Reference For Master Data Functions Only DO NOT EDIT FIELD
Note on C8: Reference For Master Data Functions Only DO NOT EDIT FIELD
Note on D8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on E8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on F8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on D10: Upon creation of SPExxxxxx add mod/product code (for example, 00PSE45A) For mod code changes create new column for new mod code (note: information may be copied from previous column and changed accordingly).
Note on A13: This information to be completed by NPD during new product launch and modified by the Change Leader for CP0150 projects.
Note on A14: This number represents the packaging configuration associated to the finished good (includes package g-level).
Note on A15: This value represents the shelf life of the product in days format (for example, 60 Months = 5 years). If the product non-sterile or has no expiry add "N/A"
Note on A16: Indicates the highest dose setting the device is qualified for and not the high end of the sterilization condition agreed upon (i.e., Trocars are qualified for 90 kGy, but sterilization at Condition A, 25 – 45 kGy; fill in 90 kGy for the Maximum Sterilization Dose NOT 45 kGy) Add "N/A" if product is non-sterile.
Note on A17: Company name associated with the labeler DUNS Number entered in the Device Identifier (DI) Record. Examples: Ethicon Endo-Surgery, LLC Ethicon Endo-Surgery, INC Obtech Medical Sarl
Note on A18: Indicates that the device is intended for one use or on a single patient during a single procedure. Values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code)
Note on A19: Indicates if the device or unit is considered capital equipment? Values are "Yes" or "No"
Note on A20: Some products have accessories or associated products that are commonly sold together. If this product meets such conditions, select "Yes" and list the associated product code(s) in the cell adjacent to Row 21. If no associated products add "No" to the cell adjacent to this Row 20 and "N/A" to the cell adjacent to Row 21. Values for the cell associated to this Row are "Yes" or "No"
Note on A21: This is the product code associated to the product of this specification (If "Yes" indicated in previous cell). Add "N/A" if there is no associated product.
Note on A22: Indicates any special storage requirements for the device. Applicable values are: Do not use if package is damaged Fragile, handle with care Keep away from sunlight Protect from heat and radioactive sources Keep dry Store at room temperature Do not freeze Add "N/A" if there are no special storage requirements for the product.
Note on A23: This value defines the end items stocking type. Examples (select one): Manufactured Finished Good Purchased Finished Good Phantom Code Refurbished Single Replacement Items Vendor Shipped Finshed Good - Inventory Visible Vendor Shipped Finshed Good - No Inventory Visible
Note on A24: This attribute asks the question of whether or not the new product code is considered software (e.g. G11SWK). Values = Yes or No
Note on A25: This attribute asks the question of whether this product is hazardous and/or requires special shipping requirements for hazardous product. Values: Not Hazardous Hazardous; No Shipping Restrictions Hazardous; Shipping Restrictions
Note on A26: Indicates if part marking of the device is required per FDA ruling S.801.45 (a). Per the FDA ruling S.801.45 “(a) In general. A device that must bear a unique device identifier (UDI) on its label must also bear a permanent marking providing the UDI on the device itself if the device is intended to be used more than once and intended to be reprocessed before each use.” Values are "Yes" or "No" Note: Answering "No" requires rationale to be included in the cell associated to Row 27. If answering "Yes" add "N/A" to Row 27.
Note on A27: If answering "No" to the question in Row 26 rationale is required. Add rationale to the cell adjacent to this Row. An example might be: "Single Use Device" If Answering "Yes" to the question in Row 26 add "N/A" to the cell adjacent to this Row.
Note on A28: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. This value is equal to the GTIN assigned to the lowest packaging level of sale. The GTIN is assigned by the GTIN Administrator. Note: A change to this value once established requires the creation of a new Product Code.
Note on A29: This section to be completed by Worldwide Product Labeling
Note on A30: Indicates the description of the device with any additional relevant information. The description that is visible on the label/IFU.
Note on A31: Indicates that the device or packaging contains natural rubber that contacts humans as described under 21 CFR 801.437. Choosing 'Yes' indicates that the device label or packaging contains one of the following statements: (1) "Caution: This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions", (2) This Product Contains Dry Natural Rubber", (3) Caution: The Packaging of This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions" or (4) "The Packaging of This Product Contains Dry Natural Rubber". Values are "Yes" or "No" Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A32: Indicates if natural rubber latex was used as a material in the manufacture of the medical product and container and the device labeling contains this information. Only applicable to devices not subject to the requirements under 21 CFR 801.437. Not all medical products that are NOT made with natural rubber latex will be marked. Values are "Yes" or "No" Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A33: Indicates the dimension type for the clinically relevant measurement of the device referenced on the "label only". Consider measurements such as: Circumference; Depth; Device Size Text, specify; Catheter Gauge; Outer Diameter; Height; Length; Lumen/Inner Diameter; Needle Gauge; Total Volume; Width; Weight; Pressure; Pore Size; Area/Surface Area; Angle. Values are "Yes" or "No" An example of this information may be: 45 mm Staple line; 3.5 mm Staple Leg Length; 6 Rows Note: Separate relevant size info by semi-colons (;) A "Yes" answer to this question requires the text added to the box adjacent to Row 34. Add "N/A" to Row 34 if the answer is "No".
Note on A34: Add applicable Relevant Size as detailed in the note for the question in Row 33. Additional examples: 45 mm Staple line; 3.5 mm Staple Leg Length; 6 Rows 33mm Diameter; 28 Titanium Adjustable Height Staples; Dimensions Before Closure: 4.0mm x 5.5mm Shaft Diameter: 5.5 mm; Clip Size: Medium/Large 60mm Staple Line; 440mm Shaft Length; no Cartridge Included Staple Height: 2.5 mm; Staple Line Length: 35 mm; ReloadColor: White; StapleRows: 4
Note on A35: Indicates the MRI Safety Information, if any, that is present in the device labeling. Please see the ASTM F2503-13 standard for more information. Applicable values are: MR Safe MR Unsafe MR Conditional Labeling does not contain MRI safety information Note: A change to this value from "Labeling does not contain MRI safety information" to MR Safe, MR Unsafe or MR Conditional does not require the creation of a new GTIN (Product Code). Note: A change from MR Safe, MR Unsafe or MR Conditional to one of the other values requires the creation of a new GTIN (Product Code).
Note on A36: The Proprietary/Trade/Brand name of the medical device as used in device labeling or in the catalog. This information may 1) be on a label attached to a durable device, 2) be on a package of a disposable device, or 3) appear in labeling materials of an implantable device. The brand name is the name that is typically registered with USPTO and have the ® and/or TM symbol. Examples include: HARMONIC, HARMONIC ACE, HARMONIC FOCUS, ENSEAL, ENDOPATH, ENDOPATH XCEL, ENDOPATH BASX, LIGACLIP, ECHELON FLEX, ECHELON ENDOPATH, PROXIMATE, etc. If there is no Brand Name for the product add "None" Note: For purposes of this specification do not include the ® or TM Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A37: Indicates if there are any special handling or storage conditions. Values are "Yes" or "No" If Yes, complete cells for Rows 38 - 41. If No, indicate "N/A" for Rows 38 - 41. Note: add additional Values/Rows per instructions if necessary in Rows 42- 45. If no additional values add "N/A" to Rows 42 - 45.
Note on A38: Indicates storage and handling type if the answer is Yes in Row 37. Applicable values are: Handling Environment Atmospheric Pressure Hangling Environment Humidity Handling Environment Temperature Storage Environment Atmospheric Pressure Storage Environment Humidity Storage Environment Temperature
Note on A39: Indicates the low-end value for the storage and handling type selected. Examples might be: -20 65% 1000
Note on A40: Indicates the high-end value for the storage and handling type selected. Examples might be: 110 100% 1200
Note on A41: Indicates the unit associted to the value identified in Rows 39 and 40. Examples might be: Celsius Percent Millibars
Note on A42: Indicates an additional storage and handling type (if needed) if the answer is Yes in Row 37. Applicable values are: Handling Environment Atmospheric Pressure Hangling Environment Humidity Handling Environment Temperature Storage Environment Atmospheric Pressure Storage Environment Humidity Storage Environment Temperature
Note on A43: Indicates the low-end value for the storage and handling type selected. Examples might be: -20 65% 1000
Note on A44: Indicates the high-end value for the storage and handling type selected. Examples might be: 110 100% 1200
Note on A45: Indicates the unit associted to the value identified in Rows 43 and 44. Examples might be: Celsius Percent Millibars
Note on A46: Phone number for the US Customer contact; to be used by patients and consumers for device-related questions. The number for ETHICON is: 1-877-384-4266
Note on A47: Email for the Customer contact; to be used by patients and consumers for device-related questions. The email is: customersupport@eesus.jnj.com
Note on A48: This section to be completed by Franchise Package Development
Note on A49: Indicates how many product uses are in a sales unit. Example: 3 product uses in a PSE45A per sales unit, or 12 product uses of BCD05 in a sales unit Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A50: Indicates how many instruments (product uses) are in an RSC case; multiply eaches per S/U by S/U per case.
Note on A51: Indicates how many sales units are in an RSC case (i.e., there are 6 dispenser cartons in an RSC case).
Note on A52: Indicates the weight of one instrument, excluding packaging.
Note on A53: Guzman, Beatriz: This applies only to Gamma irradiated product. Indicates how many layers of shipping cases will be processed inside one standard, sterilization Tote. Most common configuration contains only one (1) layer. For other sterilization methods, replace with "N/A"
Note on A54: Guzman, Beatriz: This applies only to Gamma irradiated product. Indicates how many total number of shipping cases are in one standard, sterilization Tote (i.e. 4 RSC cases in a single layer inside a sterilization tote means there are 4 cases per Tote). For other sterilization methods, replace with "N/A"
Note on A55: Guzman, Beatriz: An unpackaged GTIN is required where the unit of use does not have an assigned device identifier. An example may be: There are 3 BCD05 primary devices in a primary package, yet each device needs its own separate GTIN from the primary package. An example where you would not need to identify an unpackaged GTIN: There is 1 primary device in a PSE45A blister package. Values for this attribute: Yes = must add unpackaged GTIN Number in cell for Row 56. No = must add "N/A" in the cell for Row 56. Kits = must add "N/A" in the cell for Row 56. Contact GTIN Administrator to assign the GTIN.
Note on A56: Guzman, Beatriz: If answering Yes in Row 55 a GTIN needs to be assigned and added to the cell associatd to this row. If answering No in Row 55 add "N/A". If Kit add "N/A
Note on A57: Populate cell with applicable value: Lot Controlled Serial Controlled
Note on A58: Product is managed by Date of Manufacturer (DOM)? Values are "Yes" or "No"
Note on A59: Product is managed by the Expiration Date? Values are "Yes" or "No"
Note on A60: Is the product used for donation? Values are "Yes" or "No"
Note on A61: Select the appropriate Unit of Sale (pick one). Values are: Each Box Case
Note on A62: Guzman, Beatriz: Indicates the Case part number. This number can be found in the Packaging Assembly drawing and represents the outermost shipping container for the assembly.
Note on A63: Guzman, Beatriz: Indicate "Yes" or "No" for each configuration.
Note on A64: Guzman, Beatriz: Indicate the process specification where the diagram/ illustration representing the Case/ Pallet configuration is located.
Note on A65: Guzman, Beatriz: Each = Enter the outside dimensions of the packaging at the “each” level. This may be the dimensions of the blister or it may be the individual carton if an individual carton is used. Box = Enter the outside dimensions of the sales unit level of packaging. This may be the same as the dimensions of case if sales unit is the shipping configuration. Case = Enter the outside dimensions of the outermost case. This may be the corrugated shipper or the corrugated sales unit if the sales unit is the shipper. NOTE: Linear dimensions use the opening face on the container as a point of reference for both box and case containers. Length and Width are defined for the container opening (with the length representing the larger of the two dimensions). Depth/ Height of the container is the measurement perpendicular to the container opening. Linear dimensions represent OUTSIDE dimensions of an assembled component. Weight - Indicate the weight of each level in lbs. Density - Indicate the density of each level grams/cubic centimeter NOTE: Density is calculated using the following: Weight (lbs)/ (Length x Width x Height)in3 multiplied by 27.68 (conversion factor to g/cc). Density values in g/cm3 will be rounded up to 2-significant digits.
Note on A66: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A67: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A68: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A69: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A70: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A71: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A72: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A73: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A74: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A75: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A76: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A77: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A78: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A79: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A80: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A81: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A82: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A83: Defines information regarding Single Unit Replacement codes (if applicable).
Note on A84: Guzman, Beatriz: Indicate if there is a Single Unit Replacement Product Code for this device. Values are "Yes" or "No" If Yes complete Rows 84 - 89. If No add "N/A" for Rows 84 - 89.
Note on A85: Guzman, Beatriz: If answering Yes in Row 84, add the single unit replacement product code assigned for the product of this specification. If no single unit product code add "N/A" to the cell for this row.
Note on A86: Guzman, Beatriz: If Yes in Row 84, which pack out configuration can be used for the Single Unit Replacement Code? The Values are A, B, C and Other. Pack out A = Non-powered device with primary package footprint is less than 11.375" L and 7.375" W. (Examples: Trocars, reloads, obturators) Pack out B = Non-powered device with primary package footprint greater than 11.375" L and 7.375" W. (Examples: ENSEAL tissue sealers, linear cutters, circular staplers, non-powered staplers) Pack out C = All powered devices (Exampls: PVE, PCE PSE, PLE product codes) Other than Pack out A, B or C = specify the dimensions in Rows 87 - 89. Add "N/A" for Rows 87 - 89 if A, B or C is selected for Row 86.
Note on A87: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A88: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A89: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A90: Defines information regarding Demonstration Unit product codes (if applicable).
Note on A91: Guzman, Beatriz: Indicate if there is a Demonstration Unit Product Code for this device. Values are "Yes" or "No" If Yes complete Rows 92 - 95. If No add "N/A" for Rows 92 - 95.
Note on A92: Guzman, Beatriz: If answering Yes in Row 91, add the Demonstration Unit product code assigned for the product of this specification. If no Demonstration Unit add "N/A" to the cell for this row.
Note on A93: Guzman, Beatriz: Add Length dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit
Note on A94: Add Width dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit.
Note on A95: Add Height dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit.
Note on A96: This section to be completed by Sterilization Sciences
Note on A97: Indicates if the device is sterile or non-sterile. Sterile indicates the medical device is free from viable microorganisms. See ISO/TS 11139. Values are: Yes No N/A (e.g. post-sterile bundled kits) Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A98: Indicates the method(s) of sterilization that can be used for this device. Values are: Gamma Ethylene Oxide (ETO) Add "N/A" if product is non-sterile.
Note on A99: Guzman, Beatriz: Indicates if the Customer is required to sterilize the product prior to use (example, reusable products. Values are "Yes" or "No" If Yes, indicate the Customer Sterilization Method in the cell for Row 100. If No, indicate "N/A" in the cell for Row 100
Note on A100: Indicates the method of which the customer is required to sterilize the product. The values are: Dry Heat Chlorine Dioxide Hydrogen Peroxide Microwave Radiation Ultraviilet Light High Intensity Light or Pulse Light Moist Heat or Steam Ozone Peracetic Acid Radiation Sound Waves EO If the customer is not required to sterilize the product add "N/A"
Note on A101: This section to be completed by Contract Administration
Note on A102: Indicate the appropriate Product Type. Selections are as follows (include # and type in cell…for example, "3 = Proximate"): 2 = Internal 3 = Proximate 4 = Ligation 5 = Gastric Band 6 = Endoscopy 7 = Joint Product Development 8 = Harmonic S = Sedation T = Trocars Other = (add appropriate type)
Note on A103: Indicate the appropriate Contract Type. Selections are as follows (include # and type in cell…for example, "3 = Proximate"): 2 = Internal 3 = Proximate 4 = Ligation 5 = Gastric Band 6 = Endoscopy 8 = Non Contract / Line Item 9 = Harmonic / Enseal F = Endosuture T = Trocars Other = (add appropriate type)
Note on A104: The Franchise Price Group value is provided with inputs from Contract Administration. This value sends data to the ICS. Example: ES10 - Ligation
Note on A105: The DW Product Categorization assigns how products and sales are categorized in downstream sales systems. Reference WE0288 Appendix I for a list of attributes. Example: 0302 - Endoscopy
Note on A106: This section to be completed by the Pricing Manager
Note on A107: Indicates if the product is on the Federal Supply Schedule (included in the government pricing contract). Values are "Yes" or "No"
Note on A108: Indicate if back pricing (or ghost pricing) will be required when launching this product. Back pricing is the activity of loading the list price from previous years for older contracts. Values are "Yes" or "No"
Note on A109: This section to be completed by Commercial Finance
Note on A110: Indicates the Minor Product Group Name and Number for the device.
Note on A111: Indicates the Product Tax Group associated to the product.
Note on A112: This section to be completed by Regulatory Affairs
Note on A113: Indicates that the device is a convenience, combination, in vitro diagnostic (IVD), or medical procedure kit. Kits are a collection of products, including medical devices, that are packaged together to achieve a common intended use and is being distributed as a medical device. The values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A114: Indicates if the device is CE Marked. Values are "Yes" or "No" Note: If non-CE Marked upon product release indicate “No”. Upon CE approval the specification must be revised to indicate “Yes” (for new mod code).
Note on A115: Indicates that the product is comprised of two or more regulated products that are physically, chemically, or otherwise combined or mixed and produced as a single entity; packaged together as a single package; or packaged separately for the intended use together as defined under 21 CFR 3.2(e). At least one of the products in the combination product must be a device in this case. Values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A116: Values are "Rx" or "OTC" Rx - Indicates that the device requires a prescription to use. OTC - Indicates that the device does not require a prescription to use and can be purchased over the counter (OTC).
Note on A117: Business number issued by Dun & Bradstreet (D&B) that is used to associate the Labeler (Company) name and address to a given version of model of a device in GUDID. EES INC = 123407392 EES LLC = 044606982 Obtech SARL = 486911852
Note on A118: Indicates if FDA Premarket submission is required for the device. Values are "Yes" or "No" "Yes" indicates the device is exempt from pre-market submission. "No" indicates pre-market submission is required for the device.
Note on A119: Number associated with the regulatory decision regarding the applicant’s legal right to market a medical device for the following submission types: 510(k), PMA, PDP, HDE, BLA, and NDA. This number is not required for the following: The device is exempt from pre-market submission; kits. Enter "N/A" if not required.
Note on A120: Number assigned by FDA to a supplemental application for approval of a change in a medical device with an approved PMA, HDE, or PDP.
Note on A121: Indicates that the product contains or consists of human cells or tissues that are intended for implantation, transplantation, infusion, or transfer into a human recipient as defined under 21 CFR 1271.3. Values are "Yes" or "No"
Note on A122: Indicates the FDA class level for the device. Examples: Class I, Class II, Class III
Note on A123: Indicates the classification for pre-market devices issued by the FDA; three-letter code. Enter all applicable Product Codes, three-letter code. For all PMA and 510k devices, Product Codes are assigned in the FDA approval or clearance letter, respectively. For Class I and exempt devices, the device Product Code may be self-identified. Note: This code is not required for Kits (add "N/A" to cell).
Note on A124: GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization.
Note on A125: Number assigned by FDA during Registration and Listing to all devices in commercial distribution, regardless of pre-market authorization requirements per 21 CFR 807.28(f). Note: If additional listing numbers are requried add and separate by a comma (,) For example, for EES products there could be 2 listing numbers (one for LLC and INC)
Note on A126: This section to be completed by New Product & Lifecycle Planning
Note on A127: Indicates the Material Freight Group for the product. This value is provided by the Regional Transportation Organization. Example: 804R
Note on A128: Indicates the Country of Origin for the product. Refer to the Country or Origin section on the Import Product Profile Form (IPPF). This is the Country of Origin (COO) for the product Example: MX
Note on A129: Indicates the HTS Code for the product. Refer to Harmonization Tariff Schedule section on the Import Product Profile Form (IPPF). The HTS Code is a 10-digit code that classifies the product during international shipment. Example: 9018.60.8000

## Example Template (hidden)
PRODUCT MASTER DATA SPECIFICATION
(REPLACE WITH PRODUCT CODE)
Document Number: |  |  | ECN #: | Revision (letter):
SPExxxxx |  |  | ECNxxxxxx | A
Master Data / GUDID Data Elements | MDM or SAP Value (Y/N) | LSP Upload Tool Value (Y/N) | Configuration | Configuration | Configuration | Configuration | Configuration
00PSE45A
PRODUCT INFORMATION SECTION
Packaging Assembly Number | No | No | P71835G01
Product Shelf Life (Months) | Yes | No | 1095 Days
Maximum Sterilization Dose | No | No | 55 kGy
Company Name | Yes | Yes | Ethicon Endo Surgery
Single Use Product? | Yes | Yes | Yes
Capital Indicator | Yes | No | No
Associated Product Code Indicator | Yes | No | No
Associated Product Code | No | No | N/A
Special Storage Requirement Code / Conditions: | Yes | Yes | Refrigerated
Product SubType | Yes | No | Manufactured Finished Good
Is this product software? | Yes | No | No
Is product considered hazardous? | Yes | No | No Hazardous
Device Part Marking Required? | Yes | Yes | No
Device Part Marking Exemption Rationale (if "No" in Row 26) | Yes | Yes | Single Use Device
GTIN (Primary Device Identifier) | Yes | Yes | 2348359945274
LABELING SECTION
Device Description | No | Yes | Echelon Powered Endocutter
Device Labeled as "containing natural rubber latex or dry natural rubber" | Yes | Yes | Yes
Is the device labeled as "not made with natural rubber latex"? | No | Yes | Yes
Does this product have a clinically relevant size? | No | No | Yes
Clinically Relevant Size (free text): | No | Yes | 45mm Staple Line; 440mm Shaft Length; no Cartridge Included
What MRI Safety Information does the labeling contain? | Yes | Yes | MR Conditional
Brand Name | Yes | Yes | Echelon Flex
Product has special Storage and Handling Conditions? | No | Yes | Yes
Storage and Handling Type 1? | No | Yes | Handling Environment Humidity
Storage and Handling Low Value 1: | No | Yes | 65
Storage and Handling High Value 1: | No | Yes | 100
Storage and Handling Unit 1: | No | Yes | Percent
Storage and Handling Type 2? | No | Yes | Storage Environment Humidity
Storage and Handling Low Value 2: | No | Yes | 10
Storage and Handling High Value 2: | No | Yes | 80
Storage and Handling Unit 2: | No | Yes | Percent
Customer Contact Phone: | No | Yes | 1-877-384-4266
Customer Contact Email: | No | Yes | customersupport@eesus.jnj.com
PACKAGING SECTION
Eaches per Box (device count) | Yes | No | 3
Eaches per Case | Yes | No | N/A
Boxes per Case | Yes | No | N/A
Instrument Net Weight | Yes | No | 1.6 LBS
**Number of Case Layers per Tote | No | No | 1
**Total Number of Cases per Tote | No | No | 4
Is an unpackaged GTIN required? | No | No | No
Unpackaged GTIN | No | Yes | N/A
Is product Lot or Serial Controlled? | Yes | No | Lot Controlled
Product is managed by a Date of Manufacture (DOM)? | No | Yes | Yes
Product is managed by the Expiration Date? | Yes | Yes | Yes
Product is managed by a Donation Identification Number? | No | Yes | Yes
Unit of Sale | Yes | No | Box
**Case Part Number | No | No | P000178P02
**Is Case Part Number New? | No | No | No
**Case / Pallet Configuration | No | No | PR001218
**Dimensional Units of Measure (Inches / Pounds/ Grams per Cubic Centimeter)
**Length (Each) | Yes | No | 10
**Length (Box) | Yes | No | 10.62
**Length (Case) | Yes | No | Same as Box
Width (Each) | Yes | No | 3.2
Width (Box) | Yes | No | 10
Width (Case) | Yes | No | Same as Box
Height (Each) | Yes | No | 26
Height (Box) | Yes | No | 27.44
Height (Case) | Yes | No | Same as Box
Weight (Each) | Yes | No | 2.44
Weight (Box) | Yes | No | 10.31
Weight (Case) | Yes | No | Same as Box
**Density (Box) | No | No | 0.09
**Density (Case) | No | No | Same as Box
GTIN (Each) | Yes | Yes | 1348359945272
GTIN (Box) | Yes | No | 2348359945274
GTIN (Case) | Yes | No | 3348359945279
Single Unit Replacement Information (Inches )
Single Unit Replacement for this product? | Yes | No | Yes
Single Unit Replacement Product Code? | Yes | No | SPSE45A
Single Unit Pack-Out Configuration? | Yes | No | A
Single Unit (Length) | Yes | No | N/A
Single Unit (Width) | Yes | No | N/A
Single Unit (Height) | Yes | No | N/A
Demonstration Unit Information (Inches)
Is there a Demonstration Unit for this product? | Yes | No | Yes
Demonstration Unit Product Code | Yes | No | DPSE45A
Demonstration Unit Pack-Out (Length) | Yes | No | 4.34
Demonstration Unit Pack-Out (Width) | Yes | No | 11.75
Demonstration Unit Pack-Out (Height) | Yes | No | .75
STERILIZATION SECTION
Packaged as Sterile? | Yes | Yes | Yes
Sterilization Method | Yes | No | Gamma
Customer required to sterilize product prior to use? | No | No | No
Sterilization Method Prior to Use (customer)? | No | Yes | N/A
CONTRACT ADMINISTRATION SECTION
Product Type | Yes | No | 6 = Endoscopy
Contract Type | Yes | No | 6 = Endoscopy
Franchise Price Group | Yes | No | ES10 - Ligation
DW Product Categorization | Yes | No | 0302 - Endoscopy
PRICING SECTION
Federal Schedule Supply Indicator | Yes | No | No
Product will require back pricing? | Yes | No | Yes
COMMERCIAL FINANCE SECTION
Minor Product Group Name and Number | Yes | No | Endocutters 047159
Product Tax Group | Yes | No | C1
REGULATORY AFFAIRS SECTION
Product is a Kit? | Yes | Yes | No
CE Mark? | Yes | No | Yes
Combination Product? | No | Yes | No
Prescription Status (Rx or OTC)? | No | Yes | Rx
Labeler Duns Number | No | Yes | 4830721228
Device Exempt from Pre-Market Submission? | No | Yes | Yes
FDA Pre-Market Authorization Number: | No | Yes | N/A
Supplement Number: | No | Yes | 1234567
Human Cell, Tissue or Cellular Tissue Based Product (HCT/P)? | No | Yes | No
FDA Device Class: | No | Yes | Class II
FDA Product Code: | No | Yes | LTI
GMDN Code: | No | Yes | 42749
FDA Listing Number | No | Yes | 67219065, 67371128
NEW PRODUCT & LIFECYCLE PLANNING SECTION
Material Freight Group | Yes | No | 804R
Country of Origin | Yes | No | MX
HTS Code | Yes | No | 9018.60.8000
Note on B8: Reference For Master Data Functions Only DO NOT EDIT FIELD
Note on C8: Reference For Master Data Functions Only DO NOT EDIT FIELD
Note on D8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on E8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on F8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on G8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on H8: For mod code changes copy/create new column and make necessary changes applicable to each new mod code throughout the list of attributes.
Note on D10: Upon creation of SPExxxxxx add mod/product code (for example, 00PSE45A) For mod code changes create new column for new mod code (note: information may be copied from previous column and changed accordingly).
Note on A13: This information to be completed by NPD during new product launch and modified by the Change Leader for CP0150 projects.
Note on A14: This number represents the packaging configuration associated to the finished good (includes package g-level).
Note on A15: This value represents the shelf life of the product in days format (for example, 60 Months = 5 years). If the product non-sterile or has no expiry add "N/A"
Note on A16: Indicates the highest dose setting the device is qualified for and not the high end of the sterilization condition agreed upon (i.e., Trocars are qualified for 90 kGy, but sterilization at Condition A, 25 – 45 kGy; fill in 90 kGy for the Maximum Sterilization Dose NOT 45 kGy) Add "N/A" if product is non-sterile.
Note on A17: Company name associated with the labeler DUNS Number entered in the Device Identifier (DI) Record. Examples: Ethicon Endo-Surgery, LLC Ethicon Endo-Surgery, INC Obtech Medical Sarl
Note on A18: Indicates that the device is intended for one use or on a single patient during a single procedure. Values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code)
Note on A19: Indicates if the device or unit is considered capital equipment? Values are "Yes" or "No"
Note on A20: Some products have accessories or associated products that are commonly sold together. If this product meets such conditions, select "Yes" and list the associated product code(s) in the cell adjacent to Row 21. If no associated products add "No" to the cell adjacent to this Row 20 and "N/A" to the cell adjacent to Row 21. Values for the cell associated to this Row are "Yes" or "No"
Note on A21: This is the product code associated to the product of this specification (If "Yes" indicated in previous cell). Add "N/A" if there is no associated product.
Note on A22: Indicates any special storage requirements for the device. Applicable values are: Do not use if package is damaged Fragile, handle with care Keep away from sunlight Protect from heat and radioactive sources Keep dry Store at room temperature Do not freeze Add "N/A" if there are no special storage requirements for the product.
Note on A23: This value defines the end items stocking type. Examples (select one): Manufactured Finished Good Purchased Finished Good Phantom Code Refurbished Single Replacement Items Vendor Shipped Finshed Good - Inventory Visible Vendor Shipped Finshed Good - No Inventory Visible
Note on A24: This attribute asks the question of whether or not the new product code is considered software (e.g. G11SWK). Values = Yes or No
Note on A25: This attribute asks the question of whether this product is hazardous and/or requires special shipping requirements for hazardous product. Values: Not Hazardous Hazardous; No Shipping Restrictions Hazardous; Shipping Restrictions
Note on A26: Indicates if part marking of the device is required per FDA ruling S.801.45 (a). Per the FDA ruling S.801.45 “(a) In general. A device that must bear a unique device identifier (UDI) on its label must also bear a permanent marking providing the UDI on the device itself if the device is intended to be used more than once and intended to be reprocessed before each use.” Values are "Yes" or "No" Note: Answering "No" requires rationale to be included in the cell associated to Row 27. If answering "Yes" add "N/A" to Row 27.
Note on A27: If answering "No" to the question in Row 26 rationale is required. Add rationale to the cell adjacent to this Row. An example might be: "Single Use Device" If Answering "Yes" to the question in Row 26add "N/A" to the cell adjacent to this Row.
Note on A28: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. This value is equal to the GTIN assigned to the lowest packaging level of sale. The GTIN is assigned by the GTIN Administrator. Note: A change to this value once established requires the creation of a new Product Code.
Note on A29: This section to be completed by Worldwide Product Labeling
Note on A30: Indicates the description of the device with any additional relevant information. The description that is visible on the label/IFU.
Note on A31: Indicates that the device or packaging contains natural rubber that contacts humans as described under 21 CFR 801.437. Choosing 'Yes' indicates that the device label or packaging contains one of the following statements: (1) "Caution: This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions", (2) This Product Contains Dry Natural Rubber", (3) Caution: The Packaging of This Product Contains Natural Rubber Latex Which May Cause Allergic Reactions" or (4) "The Packaging of This Product Contains Dry Natural Rubber". Values are "Yes" or "No" Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A32: Indicates if natural rubber latex was used as a material in the manufacture of the medical product and container and the device labeling contains this information. Only applicable to devices not subject to the requirements under 21 CFR 801.437. Not all medical products that are NOT made with natural rubber latex will be marked. Values are "Yes" or "No" Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A33: Indicates the dimension type for the clinically relevant measurement of the device referenced on the "label only". Consider measurements such as: Circumference; Depth; Device Size Text, specify; Catheter Gauge; Outer Diameter; Height; Length; Lumen/Inner Diameter; Needle Gauge; Total Volume; Width; Weight; Pressure; Pore Size; Area/Surface Area; Angle. Values are "Yes" or "No" An example of this information may be: 45 mm Staple line; 3.5 mm Staple Leg Length; 6 Rows Note: Separate relevant size info by semi-colons (;) A "Yes" answer to this question requires the text added to the box adjacent to Row 34. Add "N/A" to Row 34 if the answer is "No".
Note on A34: Add applicable Relevant Size as detailed in the note for the question in Row 33. Additional examples: 45 mm Staple line; 3.5 mm Staple Leg Length; 6 Rows 33mm Diameter; 28 Titanium Adjustable Height Staples; Dimensions Before Closure: 4.0mm x 5.5mm Shaft Diameter: 5.5 mm; Clip Size: Medium/Large 60mm Staple Line; 440mm Shaft Length; no Cartridge Included Staple Height: 2.5 mm; Staple Line Length: 35 mm; ReloadColor: White; StapleRows: 4
Note on A35: Indicates the MRI Safety Information, if any, that is present in the device labeling. Please see the ASTM F2503-13 standard for more information. Applicable values are: MR Safe MR Unsafe MR Conditional Labeling does not contain MRI safety information Note: A change to this value from "Labeling does not contain MRI safety information" to MR Safe, MR Unsafe or MR Conditional does not require the creation of a new GTIN (Product Code). Note: A change from MR Safe, MR Unsafe or MR Conditional to one of the other values requires the creation of a new GTIN (Product Code).
Note on A36: The Proprietary/Trade/Brand name of the medical device as used in device labeling or in the catalog. This information may 1) be on a label attached to a durable device, 2) be on a package of a disposable device, or 3) appear in labeling materials of an implantable device. The brand name is the name that is typically registered with USPTO and have the ® and/or TM symbol. Examples include: HARMONIC, HARMONIC ACE, HARMONIC FOCUS, ENSEAL, ENDOPATH, ENDOPATH XCEL, ENDOPATH BASX, LIGACLIP, ECHELON FLEX, ECHELON ENDOPATH, PROXIMATE, etc. If there is no Brand Name for the product add "None" Note: For purposes of this specification do not include the ® or TM Note: This is an attribute of the product that when changed requires the creation of a new GTIN (Product Code).
Note on A37: Indicates if there are any special handling or storage conditions. Values are "Yes" or "No" If Yes, complete cells for Rows 38 - 41. If No, indicate "N/A" for Rows 38 - 41. Note: add additional Values/Rows per instructions if necessary in Rows 42- 45. If no additional values add "N/A" to Rows 42 - 45.
Note on A38: Indicates storage and handling type if the answer is Yes in Row 37. Applicable values are: Handling Environment Atmospheric Pressure Hangling Environment Humidity Handling Environment Temperature Storage Environment Atmospheric Pressure Storage Environment Humidity Storage Environment Temperature
Note on A39: Indicates the low-end value for the storage and handling type selected. Examples might be: -20 65% 1000
Note on A40: Indicates the high-end value for the storage and handling type selected. Examples might be: 110 100% 1200
Note on A41: Indicates the unit associted to the value identified in Rows 39 and 40. Examples might be: Celsius Percent Millibars
Note on A42: Indicates an additional storage and handling type (if needed) if the answer is Yes in Row 37. Applicable values are: Handling Environment Atmospheric Pressure Hangling Environment Humidity Handling Environment Temperature Storage Environment Atmospheric Pressure Storage Environment Humidity Storage Environment Temperature
Note on A43: Indicates the low-end value for the storage and handling type selected. Examples might be: -20 65% 1000
Note on A44: Indicates the high-end value for the storage and handling type selected. Examples might be: 110 100% 1200
Note on A45: Indicates the unit associted to the value identified in Rows 43 and 44. Examples might be: Celsius Percent Millibars
Note on A46: Phone number for the US Customer contact; to be used by patients and consumers for device-related questions. The number for ETHICON is: 1-877-384-4266
Note on A47: Email for the Customer contact; to be used by patients and consumers for device-related questions. The email is: customersupport@eesus.jnj.com
Note on A48: This section to be completed by Franchise Package Development
Note on A49: Indicates how many product uses are in a sales unit. Example: 3 product uses in a PSE45A per sales unit, or 12 product uses of BCD05 in a sales unit Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A50: Indicates how many instruments (product uses) are in an RSC case; multiply eaches per S/U by S/U per case.
Note on A51: Indicates how many sales units are in an RSC case (i.e., there are 6 dispenser cartons in an RSC case).
Note on A52: Indicates the weight of one instrument, excluding packaging.
Note on A55: Guzman, Beatriz: An unpackaged GTIN is required where the unit of use does not have an assigned device identifier. An example may be: There are 3 BCD05 primary devices in a primary package, yet each device needs its own separate GTIN from the primary package. An example where you would not need to identify an unpackaged GTIN: There is 1 primary device in a PSE45A blister package. Values for this attribute: Yes = must add unpackaged GTIN Number in cell for Row 56. No = must add "N/A" in the cell for Row 56. Kits = must add "N/A" in the cell for Row 56. Contact GTIN Administrator to assign the GTIN.
Note on A56: Guzman, Beatriz: If answering Yes in Row 55 a GTIN needs to be assigned and added to the cell associatd to this row. If answering No in Row 55 add "N/A". If Kit add "N/A
Note on A57: Populate cell with applicable value: Lot Controlled Serial Controlled
Note on A58: Product is managed by Date of Manufacturer (DOM)? Values are "Yes" or "No"
Note on A59: Product is managed by the Expiration Date? Values are "Yes" or "No"
Note on A60: Is the product used for donation? Values are "Yes" or "No"
Note on A61: Select the appropriate Unit of Sale (pick one). Values are: Each Box Case
Note on A62: Guzman, Beatriz: Indicates the Case part number. This number can be found in the Packaging Assembly drawing and represents the outermost shipping container for the assembly.
Note on A63: Guzman, Beatriz: Indicate "Yes" or "No" for each configuration.
Note on A64: Guzman, Beatriz: Indicate the process specification where the diagram/ illustration representing the Case/ Pallet configuration is located.
Note on A65: Guzman, Beatriz: Guzman, Beatriz: Each = Enter the outside dimensions of the packaging at the “each” level. This may be the dimensions of the blister or it may be the individual carton if an individual carton is used. Box = Enter the outside dimensions of the sales unit level of packaging. This may be the same as the dimensions of case if sales unit is the shipping configuration. Case = Enter the outside dimensions of the outermost case. This may be the corrugated shipper or the corrugated sales unit if the sales unit is the shipper. NOTE: Linear dimensions use the opening face on the container as a point of reference for both box and case containers. Length and Width are defined for the container opening (with the length representing the larger of the two dimensions). Depth/ Height of the container is the measurement perpendicular to the container opening. Weight - Indicate the weight of each level in lbs. Density - Indicate the density of each level grams/cubic centimeter NOTE: Density is calculated using the following: Weight (lbs)/ (Length x Width x Height)in3 multiplied by 27.68 (conversion factor to g/cc). Density values in g/cm3 will be rounded up to 2-significant digits.
Note on A66: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A67: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A68: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A69: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A70: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A71: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A72: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A73: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A74: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A75: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A76: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A77: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A78: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A79: Guzman, Beatriz: See Instructions in Row 65 (Dimensional Units of Measure)
Note on A80: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A81: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A82: Indicates the Global Trade Identification Number for the device. An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. The GTIN is assigned by the GTIN Administrator.
Note on A83: Defines information regarding Single Unit Replacement codes (if applicable).
Note on A84: Guzman, Beatriz: Indicate if there is a Single Unit Replacement Product Code for this device. Values are "Yes" or "No" If Yes complete Rows 84 - 89. If No add "N/A" for Rows 84 - 89.
Note on A85: Guzman, Beatriz: If answering Yes in Row 84, add the single unit replacement product code assigned for the product of this specification. If no single unit product code add "N/A" to the cell for this row.
Note on A86: Guzman, Beatriz: If Yes in Row 84, which pack out configuration can be used for the Single Unit Replacement Code? The Values are A, B, C and Other. Pack out A = Non-powered device with primary package footprint is less than 11.375" L and 7.375" W. (Examples: Trocars, reloads, obturators) Pack out B = Non-powered device with primary package footprint greater than 11.375" L and 7.375" W. (Examples: ENSEAL tissue sealers, linear cutters, circular staplers, non-powered staplers) Pack out C = All powered devices (Exampls: PVE, PCE PSE, PLE product codes) Other than Pack out A, B or C = specify the dimensions in Rows 87 - 89. Add "N/A" for Rows 87 - 89 if A, B or C is selected for Row 86.
Note on A87: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A88: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A89: Guzman, Beatriz: Only required if "Other" is selected for Row 86. Add "N/A" if A, B or C is selected for Row 86.
Note on A90: Defines information regarding Demonstration Unit product codes (if applicable).
Note on A91: Guzman, Beatriz: Indicate if there is a Demonstration Unit Product Code for this device. Values are "Yes" or "No" If Yes complete Rows 92 - 95. If No add "N/A" for Rows 92 - 95.
Note on A92: Guzman, Beatriz: If answering Yes in Row 91, add the Demonstration Unit product code assigned for the product of this specification. If no Demonstration Unit add "N/A" to the cell for this row.
Note on A93: Guzman, Beatriz: Add Length dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit
Note on A94: Add Width dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit.
Note on A95: Add Height dimension for Demonstration Unit pack-out configuration. Add "N/A" if no Demonstration Unit.
Note on A96: This section to be completed by Sterilization Sciences
Note on A97: Indicates if the device is sterile or non-sterile. Sterile indicates the medical device is free from viable microorganisms. See ISO/TS 11139. Values are: Yes No N/A (e.g. post-sterile bundled kits) Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A98: Indicates the method(s) of sterilization that can be used for this device. Values are: Gamma Ethylene Oxide (ETO) Add "N/A" if product is non-sterile.
Note on A99: Guzman, Beatriz: Indicates if the Customer is required to sterilize the product prior to use (example, reusable products. Values are "Yes" or "No" If Yes, indicate the Customer Sterilization Method in the cell for Row 100. If No, indicate "N/A" in the cell for Row 100
Note on A100: Indicates the method of which the customer is required to sterilize the product. The values are: Dry Heat Chlorine Dioxide Hydrogen Peroxide Microwave Radiation Ultraviilet Light High Intensity Light or Pulse Light Moist Heat or Steam Ozone Peracetic Acid Radiation Sound Waves EO If the customer is not required to sterilize the product add "N/A"
Note on A101: This section to be completed by Contract Administration
Note on A102: Indicate the appropriate Product Type. Selections are as follows (include # and type in cell…for example, "3 = Proximate"): 2 = Internal 3 = Proximate 4 = Ligation 5 = Gastric Band 6 = Endoscopy 7 = Joint Product Development 8 = Harmonic S = Sedation T = Trocars Other = (add appropriate type)
Note on A103: Indicate the appropriate Contract Type. Selections are as follows (include # and type in cell…for example, "3 = Proximate"): 2 = Internal 3 = Proximate 4 = Ligation 5 = Gastric Band 6 = Endoscopy 8 = Non Contract / Line Item 9 = Harmonic / Enseal F = Endosuture T = Trocars Other = (add appropriate type)
Note on A104: The Franchise Price Group value is provided with inputs from Contract Administration. This value sends data to the ICS. Example: ES10 - Ligation
Note on A105: The DW Product Categorization assigns how products and sales are categorized in downstream sales systems. Reference WE0288 Appendix I for a list of attributes. Example: 0302 - Endoscopy
Note on A106: This section to be completed by the Pricing Manager
Note on A107: Indicates if the product is on the Federal Supply Schedule (included in the government pricing contract). Values are "Yes" or "No"
Note on A108: Indicate if back pricing (or ghost pricing) will be required when launching this product. Back pricing is the activity of loading the list price from previous years for older contracts. Values are "Yes" or "No"
Note on A109: This section to be completed by Commercial Finance
Note on A110: Indicates the Minor Product Group Name and Number for the device.
Note on A111: Indicates the Product Tax Group associated to the product.
Note on A112: This section to be completed by Regulatory Affairs
Note on A113: Indicates that the device is a convenience, combination, in vitro diagnostic (IVD), or medical procedure kit. Kits are a collection of products, including medical devices, that are packaged together to achieve a common intended use and is being distributed as a medical device. The values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A114: Indicates if the device is CE Marked. Values are "Yes" or "No" Note: If non-CE Marked upon product release indicate “No”. Upon CE approval the specification must be revised to indicate “Yes” (for new mod code).
Note on A115: Indicates that the product is comprised of two or more regulated products that are physically, chemically, or otherwise combined or mixed and produced as a single entity; packaged together as a single package; or packaged separately for the intended use together as defined under 21 CFR 3.2(e). At least one of the products in the combination product must be a device in this case. Values are "Yes" or "No" Note: A change to this value once established requires the creation of a new GTIN (Product Code).
Note on A116: Values are "Rx" or "OTC" Rx - Indicates that the device requires a prescription to use. OTC - Indicates that the device does not require a prescription to use and can be purchased over the counter (OTC).
Note on A117: Business number issued by Dun & Bradstreet (D&B) that is used to associate the Labeler (Company) name and address to a given version of model of a device in GUDID. EES INC = 123407392 EES LLC = 044606982 Obtech SARL = 486911852
Note on A118: Indicates if FDA Premarket submission is required for the device. Values are "Yes" or "No" "Yes" indicates the device is exempt from pre-market submission. "No" indicates pre-market submission is required for the device.
Note on A119: Number associated with the regulatory decision regarding the applicant’s legal right to market a medical device for the following submission types: 510(k), PMA, PDP, HDE, BLA, and NDA. This number is not required for the following: The device is exempt from pre-market submission; kits. Enter "N/A" if not required.
Note on A120: Number assigned by FDA to a supplemental application for approval of a change in a medical device with an approved PMA, HDE, or PDP.
Note on A121: Indicates that the product contains or consists of human cells or tissues that are intended for implantation, transplantation, infusion, or transfer into a human recipient as defined under 21 CFR 1271.3. Values are "Yes" or "No"
Note on A122: Indicates the FDA class level for the device. Examples: Class I, Class II, Class III
Note on A123: Indicates the classification for pre-market devices issued by the FDA; three-letter code. Enter all applicable Product Codes, three-letter code. For all PMA and 510k devices, Product Codes are assigned in the FDA approval or clearance letter, respectively. For Class I and exempt devices, the device Product Code may be self-identified. Note: This code is not required for Kits (add "N/A" to cell).
Note on A124: GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization.
Note on A125: Number assigned by FDA during Registration and Listing to all devices in commercial distribution, regardless of pre-market authorization requirements per 21 CFR 807.28(f). Note: If additional listing numbers are requried add and separate by a comma (,) For example, for EES products there could be 2 listing numbers (one for LLC and INC)
Note on A126: This section to be completed by New Product & Lifecycle Planning
Note on A127: Indicates the Material Freight Group for the product. This value is provided by the Regional Transportation Organization. Example: 804R
Note on A128: Indicates the Country of Origin for the product. Refer to the Country or Origin section on the Import Product Profile Form (IPPF). This is the Country of Origin (COO) for the product Example: MX
Note on A129: Indicates the HTS Code for the product. Refer to Harmonization Tariff Schedule section on the Import Product Profile Form (IPPF). The HTS Code is a 10-digit code that classifies the product during international shipment. Example: 9018.60.8000