## Sheet2
Instruction Template: EES SC Mega Power New Faceplate Test Form V1
Section: Table A1: Calibration Data
Step | Data base ID: | Instructions | Pass | Fail
1 | ISTEP-0001632 | Compare wording.
Section: B Instructions: Investigation and Repair
Step | Data base ID: | Instructions | Pass | Fail
2 | ISTEP-0001633 | Compare wording.
Section: Table B1: Pure Cut
Step | Data base ID: | Instructions | Pass | Fail
3 | ISTEP-0001634 | Compare wording.
4 | ISTEP-0001635 | Compare wording.
5 | ISTEP-0001636 | Compare wording.
Section: Table B2: COAG 1
Step | Data base ID: | Instructions | Pass | Fail
6 | ISTEP-0001637 | Compare wording.
7 | ISTEP-0001638 | Compare wording.
8 | ISTEP-0001639 | Compare wording.
Section: Ship Printed Circuit Boards to Megadyne
Step | Data base ID: | Instructions | Pass | Fail
9 | ISTEP-0001640 | Compare wording.
Section: C Instructions: Display Test
Step | Data base ID: | Instructions | Pass | Fail
10 | ISTEP-0001641 | Compare wording.
Section: Table C1: Power-Up Test
Step | Data base ID: | Instructions | Pass | Fail
11 | ISTEP-0001642 | Compare wording.
12 | ISTEP-0001643 | Compare wording.
13 | ISTEP-0001644 | Compare wording.
14 | ISTEP-0001645 | Compare wording.
15 | ISTEP-0001646 | Compare wording.
16 | ISTEP-0001647 | Compare wording.
17 | ISTEP-0001648 | Compare wording.
Section: Table C2: Display Functionality
Step | Data base ID: | Instructions | Pass | Fail
18 | ISTEP-0001649 | Compare wording.
19 | ISTEP-0001650 | Compare wording.
20 | ISTEP-0001651 | Compare wording.
21 | ISTEP-0001652 | Compare wording.
22 | ISTEP-0001653 | Compare wording.
23 | ISTEP-0001654 | Compare wording.
Section: D1 Instructions: Monopolar A Output Tests
Step | Data base ID: | Instructions | Pass | Fail
24 | ISTEP-0001655 | Compare wording.
Section: Table D1: Monopolar A, Power Outputs and Crest Factors
Step | Data base ID: | Instructions | Pass | Fail
25 | ISTEP-0001656 | Compare upper and lower limits.
26 | ISTEP-0001657 | Compare upper and lower limits.
27 | ISTEP-0001658 | Compare upper and lower limits.
28 | ISTEP-0001659 | Compare upper and lower limits.
29 | ISTEP-0001660 | Compare upper and lower limits.
30 | ISTEP-0001661 | Compare upper and lower limits.
31 | ISTEP-0001662 | Compare upper and lower limits.
32 | ISTEP-0001663 | Compare upper and lower limits.
33 | ISTEP-0001664 | Compare upper and lower limits.
34 | ISTEP-0001665 | Compare upper and lower limits.
35 | ISTEP-0001666 | Compare upper and lower limits.
36 | ISTEP-0001667 | Compare upper and lower limits.
37 | ISTEP-0001668 | Compare wording.
38 | ISTEP-0001669 | Compare upper and lower limits.
39 | ISTEP-0001670 | Compare wording.
40 | ISTEP-0001671 | Compare upper and lower limits.
41 | ISTEP-0001672 | Compare upper and lower limits.
42 | ISTEP-0001673 | Compare upper and lower limits.
43 | ISTEP-0001674 | Compare upper and lower limits.
44 | ISTEP-0001675 | Compare upper and lower limits.
45 | ISTEP-0001676 | Compare upper and lower limits.
46 | ISTEP-0001677 | Compare upper and lower limits.
47 | ISTEP-0001678 | Compare upper and lower limits.
48 | ISTEP-0001679 | Compare upper and lower limits.
49 | ISTEP-0001680 | Compare upper and lower limits.
50 | ISTEP-0001681 | Compare upper and lower limits.
51 | ISTEP-0001682 | Compare upper and lower limits.
52 | ISTEP-0001683 | Compare upper and lower limits.
53 | ISTEP-0001684 | Compare upper and lower limits.
54 | ISTEP-0001685 | Compare wording.
Section: D2 Instructions: Monopolar B Output Tests
Step | Data base ID: | Instructions | Pass | Fail
55 | ISTEP-0001686 | Compare wording.
Section: Table D2: Monopolar B, Power Outputs and Crest Factors | Table D2: Monopolar B, Power Outputs and Crest Factors | Table D2: Monopolar B, Power Outputs and Crest Factors | Table D2: Monopolar B, Power Outputs and Crest Factors | Table D2: Monopolar B, Power Outputs and Crest Factors
Step | Data base ID: | Instructions | Pass | Fail
56 | ISTEP-0001687 | Compare upper and lower limits.
57 | ISTEP-0001688 | Compare upper and lower limits.
58 | ISTEP-0001689 | Compare upper and lower limits.
59 | ISTEP-0001690 | Compare upper and lower limits.
60 | ISTEP-0001691 | Compare upper and lower limits.
61 | ISTEP-0001692 | Compare upper and lower limits.
62 | ISTEP-0001693 | Compare upper and lower limits.
63 | ISTEP-0001694 | Compare upper and lower limits.
64 | ISTEP-0001695 | Compare upper and lower limits.
65 | ISTEP-0001696 | Compare upper and lower limits.
66 | ISTEP-0001697 | Compare upper and lower limits.
67 | ISTEP-0001698 | Compare upper and lower limits.
68 | ISTEP-0001699 | Compare wording.
69 | ISTEP-0001700 | Compare upper and lower limits.
70 | ISTEP-0001701 | Compare upper and lower limits.
71 | ISTEP-0001702 | Compare upper and lower limits.
72 | ISTEP-0001703 | Compare upper and lower limits.
73 | ISTEP-0001704 | Compare upper and lower limits.
74 | ISTEP-0001705 | Compare upper and lower limits.
75 | ISTEP-0001706 | Compare upper and lower limits.
76 | ISTEP-0001707 | Compare upper and lower limits.
77 | ISTEP-0001708 | Compare upper and lower limits.
78 | ISTEP-0001709 | Compare upper and lower limits.
79 | ISTEP-0001710 | Compare upper and lower limits.
80 | ISTEP-0001711 | Compare upper and lower limits.
81 | ISTEP-0001712 | Compare upper and lower limits.
82 | ISTEP-0001713 | Compare upper and lower limits.
83 | ISTEP-0001714 | Compare upper and lower limits.
84 | ISTEP-0001715 | Compare wording.
Section: D3 (CUT) & D4 (COAG) Instructions - Monopolar B Power Curves | D3 (CUT) & D4 (COAG) Instructions - Monopolar B Power Curves | D3 (CUT) & D4 (COAG) Instructions - Monopolar B Power Curves | D3 (CUT) & D4 (COAG) Instructions - Monopolar B Power Curves | D3 (CUT) & D4 (COAG) Instructions - Monopolar B Power Curves
Step | Data base ID: | Instructions | Pass | Fail
85 | ISTEP-0001716 | Compare wording.
Section: Table D3: CUT Power Curves | Table D3: CUT Power Curves | Table D3: CUT Power Curves | Table D3: CUT Power Curves | Table D3: CUT Power Curves
Step | Data base ID: | Instructions | Pass | Fail
86 | ISTEP-0001717 | Compare upper and lower limits.
87 | ISTEP-0001718 | Compare upper and lower limits.
88 | ISTEP-0001719 | Compare upper and lower limits.
89 | ISTEP-0001720 | Compare upper and lower limits.
90 | ISTEP-0001721 | Compare upper and lower limits.
91 | ISTEP-0001722 | Compare upper and lower limits.
92 | ISTEP-0001723 | Compare upper and lower limits.
93 | ISTEP-0001724 | Compare upper and lower limits.
94 | ISTEP-0001725 | Compare upper and lower limits.
95 | ISTEP-0001726 | Compare upper and lower limits.
96 | ISTEP-0001727 | Compare upper and lower limits.
97 | ISTEP-0001728 | Compare upper and lower limits.
98 | ISTEP-0001729 | Compare upper and lower limits.
99 | ISTEP-0001730 | Compare upper and lower limits.
100 | ISTEP-0001731 | Compare upper and lower limits.
Section: Table D4: COAG Power Curves | Table D4: COAG Power Curves | Table D4: COAG Power Curves | Table D4: COAG Power Curves | Table D4: COAG Power Curves
Step | Data base ID: | Instructions | Pass | Fail
101 | ISTEP-0001732 | Compare upper and lower limits.
102 | ISTEP-0001733 | Compare upper and lower limits.
103 | ISTEP-0001734 | Compare upper and lower limits.
104 | ISTEP-0001735 | Compare upper and lower limits.
105 | ISTEP-0001736 | Compare upper and lower limits.
106 | ISTEP-0001737 | Compare upper and lower limits.
107 | ISTEP-0001738 | Compare upper and lower limits.
108 | ISTEP-0001739 | Compare upper and lower limits.
109 | ISTEP-0001740 | Compare upper and lower limits.
110 | ISTEP-0001741 | Compare upper and lower limits.
111 | ISTEP-0001742 | Compare upper and lower limits.
112 | ISTEP-0001743 | Compare upper and lower limits.
Section: E1 Instructions: Bipolar Output Tests | E1 Instructions: Bipolar Output Tests | E1 Instructions: Bipolar Output Tests | E1 Instructions: Bipolar Output Tests | E1 Instructions: Bipolar Output Tests
Step | Data base ID: | Instructions | Pass | Fail
113 | ISTEP-0001744 | Compare wording.
Section: Table E1: Bipolar, Power Outputs and Crest Factors | Table E1: Bipolar, Power Outputs and Crest Factors | Table E1: Bipolar, Power Outputs and Crest Factors | Table E1: Bipolar, Power Outputs and Crest Factors | Table E1: Bipolar, Power Outputs and Crest Factors
Step | Data base ID: | Instructions | Pass | Fail
114 | ISTEP-0001745 | Compare upper and lower limits.
115 | ISTEP-0001746 | Compare upper and lower limits.
116 | ISTEP-0001747 | Compare upper and lower limits.
117 | ISTEP-0001748 | Compare upper and lower limits.
118 | ISTEP-0001749 | Compare upper and lower limits.
119 | ISTEP-0001750 | Compare upper and lower limits.
120 | ISTEP-0001751 | Compare upper and lower limits.
121 | ISTEP-0001752 | Compare upper and lower limits.
122 | ISTEP-0001753 | Compare upper and lower limits.
123 | ISTEP-0001754 | Compare upper and lower limits.
124 | ISTEP-0001755 | Compare wording.
125 | ISTEP-0001756 | Compare wording.
Section: E2 Instructions: Bipolar Power Curves | E2 Instructions: Bipolar Power Curves | E2 Instructions: Bipolar Power Curves | E2 Instructions: Bipolar Power Curves | E2 Instructions: Bipolar Power Curves
Step | Data base ID: | Instructions | Pass | Fail
126 | ISTEP-0001757 | Compare wording.
Section: Table E2: Bipolar Power Curves | Table E2: Bipolar Power Curves | Table E2: Bipolar Power Curves | Table E2: Bipolar Power Curves | Table E2: Bipolar Power Curves
Step | Data base ID: | Instructions | Pass | Fail
127 | ISTEP-0001758 | Compare upper and lower limits.
128 | ISTEP-0001759 | Compare upper and lower limits.
129 | ISTEP-0001760 | Compare upper and lower limits.
130 | ISTEP-0001761 | Compare upper and lower limits.
131 | ISTEP-0001762 | Compare upper and lower limits.
132 | ISTEP-0001763 | Compare upper and lower limits.
133 | ISTEP-0001764 | Compare upper and lower limits.
134 | ISTEP-0001765 | Compare upper and lower limits.
135 | ISTEP-0001766 | Compare upper and lower limits.
136 | ISTEP-0001767 | Compare upper and lower limits.
Section: Table F1: Isolation Voltages Tests | Table F1: Isolation Voltages Tests | Table F1: Isolation Voltages Tests | Table F1: Isolation Voltages Tests | Table F1: Isolation Voltages Tests
Step | Data base ID: | Instructions | Pass | Fail
137 | ISTEP-0001768 | Compare upper and lower limits.
138 | ISTEP-0001769 | Compare upper and lower limits.
139 | ISTEP-0001770 | Compare upper and lower limits.
Section: F2 Instructions: Verify Potentiometer Calibration | F2 Instructions: Verify Potentiometer Calibration | F2 Instructions: Verify Potentiometer Calibration | F2 Instructions: Verify Potentiometer Calibration | F2 Instructions: Verify Potentiometer Calibration
Step | Data base ID: | Instructions | Pass | Fail
140 | ISTEP-0001771 | Compare wording.
Section: Table F2: Verify Potentiometer Calibration | Table F2: Verify Potentiometer Calibration | Table F2: Verify Potentiometer Calibration | Table F2: Verify Potentiometer Calibration | Table F2: Verify Potentiometer Calibration
Step | Data base ID: | Instructions | Pass | Fail
Step | Data base ID: | Instructions | Pass | Fail
141 | ISTEP-0001772 | Compare upper and lower limits.
142 | ISTEP-0001773 | Compare upper and lower limits.
143 | ISTEP-0001774 | Compare upper and lower limits.
Section: Table F3: CQM Test | Table F3: CQM Test | Table F3: CQM Test | Table F3: CQM Test | Table F3: CQM Test
Step | Data base ID: | Instructions | Pass | Fail
144 | ISTEP-0001775 | Compare wording.
145 | ISTEP-0001776 | Compare wording.
146 | ISTEP-0001777 | Compare upper and lower limits.
147 | ISTEP-0001778 | Compare wording.
148 | ISTEP-0001779 | Compare upper and lower limits.
149 | ISTEP-0001780 | Compare wording.
150 | ISTEP-0001781 | Compare upper and lower limits.
Section: Table G1: Protective Earth Connection to Chassis | Table G1: Protective Earth Connection to Chassis | Table G1: Protective Earth Connection to Chassis | Table G1: Protective Earth Connection to Chassis | Table G1: Protective Earth Connection to Chassis
Step | Data base ID: | Instructions | Pass | Fail
151 | ISTEP-0001782 | Compare wording.
Section: Table G2: Enclosure Leakage Test 1 | Table G2: Enclosure Leakage Test 1 | Table G2: Enclosure Leakage Test 1 | Table G2: Enclosure Leakage Test 1 | Table G2: Enclosure Leakage Test 1
Step | Data base ID: | Instructions | Pass | Fail
152 | ISTEP-0001783 | Compare upper and lower limits.
Section: Table G3: Enclosure Leakage Test 2 | Table G3: Enclosure Leakage Test 2 | Table G3: Enclosure Leakage Test 2 | Table G3: Enclosure Leakage Test 2 | Table G3: Enclosure Leakage Test 2
Step | Data base ID: | Instructions | Pass | Fail
153 | ISTEP-0001784 | Compare upper and lower limits.
Section: Table G4: Enclosure Leakage Test 3 | Table G4: Enclosure Leakage Test 3 | Table G4: Enclosure Leakage Test 3 | Table G4: Enclosure Leakage Test 3 | Table G4: Enclosure Leakage Test 3
Step | Data base ID: | Instructions | Pass | Fail
154 | ISTEP-0001785 | Compare upper and lower limits.
Section: Table G5: Enclosure Leakage Test 4 | Table G5: Enclosure Leakage Test 4 | Table G5: Enclosure Leakage Test 4 | Table G5: Enclosure Leakage Test 4 | Table G5: Enclosure Leakage Test 4
Step | Data base ID: | Instructions | Pass | Fail
155 | ISTEP-0001786 | Compare upper and lower limits.
Section: Table G6: Patient Leakage | Table G6: Patient Leakage | Table G6: Patient Leakage | Table G6: Patient Leakage | Table G6: Patient Leakage
Step | Data base ID: | Instructions | Pass | Fail
156 | ISTEP-0001787 | Compare upper and lower limits.
Section: (Optional) G: Electrical Safety Test -Setup & Instructions for Fluke 601 | (Optional) G: Electrical Safety Test -Setup & Instructions for Fluke 601 | (Optional) G: Electrical Safety Test -Setup & Instructions for Fluke 601 | (Optional) G: Electrical Safety Test -Setup & Instructions for Fluke 601 | (Optional) G: Electrical Safety Test -Setup & Instructions for Fluke 601
Step | Data base ID: | Instructions | Pass | Fail
157 | ISTEP-0001917 | Compare upper and lower limits.
Instruction Template: EES SC QA Megadyne Mega Power 1000 Inspection and Test Results V1
Step | Data base ID: | Instructions | Pass | Fail
1 | ISTEP-0001991 | Compare wording.
2 | ISTEP-0001992 | Compare wording.
3 | ISTEP-0001993 | Compare wording.
4 | ISTEP-0001994 | Compare wording.
5 | ISTEP-0001995 | Compare wording.
6 | ISTEP-0001996 | Compare wording.
7 | ISTEP-0001997 | Compare wording.
8 | ISTEP-0001998 | Compare wording.
9 | ISTEP-0001999 | Compare wording.
10 | ISTEP-0002000 | Compare wording.
11 | ISTEP-0002001 | Compare wording.
12 | ISTEP-0002002 | Compare wording.
13 | ISTEP-0002003 | Compare wording.
14 | ISTEP-0002004 | Compare wording.
Tester:
Print Name:__________________________________
Signature and Date:_____________________________________